## 2008-2009
ENGINEERING DEPARTMENT
Blayney Sewage Treatment Works - Licence Point Sampling
| License Point No. |  |  | 3
| Period |  |  | 2008 - 2009
DATE | BOD (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) | Total Phosphorous (mg/L) | Ammonia - N (mg/L)
2008-05-07 | 10 | < | 5 | 7.71 |  | 0 | < | 5 | 0.8 | 0.82 | < | 0.5
2008-05-27 | 11 | < | 5 | 7.85 |  | 26 | < | 5 | 0.8 | 1.4 | < | 0.5
2008-07-15 | 9 | < | 5 | 6.85 |  | 64 | < | 5 | 2.2 | 0.3 | < | 0.5
2008-08-13 | 8 | < | 5 | 7.62 |  | 13 | < | 5 | 2.9 | 0.26 | < | 0.5
2008-10-01 | 10 | < | 2 | 9.04 |  | 0 | < | 5 | 0.8 | 0.29 | < | 0.5
2008-11-19 | 10 | < | 10 | 7.3 |  | 15 | < | 5 | 0.9 | 1.2 | < | 0.5
2008-12-09 | 10 | < | 5 | 8.6 |  | 0 | < | 5 | 0.4 | 1.1 | < | 0.5
2009-01-13 | 6 |  | 15 | 8.97 |  | 0 | < | 5 | 0.9 | 0.81 | < | 0.5
2009-02-24 | 4 |  | 13 | 8.1 |  |  |  |  | 5.5 | 0.93 |  | 1.9
2009-03-04 | 9 |  | 5 | 7.3 | < | 100 | < | 5 | 1.4 | 1.4 | < | 0.5
No of Samples Collected | 10 | 10 |  | 10 | 9 |  | 9 |  | 10 | 10 | 10
Lowest Sample Value | 4 | 2 |  | 6.85 | 0 |  | 5 |  | 0.4 | 0.26 | 0.5
Mean of Samples | 8.7 | 7 |  | 7.934 | 24.2222 |  | 5 | 5 | 1.66 | 0.851 | 0.64
Highest Sample Value | 11 | 15 |  | 9.04 | 100 |  | 5 |  | 5.5 | 1.4 | 1.9

## 2009-2010
ENGINEERING DEPARTMENT
Blayney Sewage Treatment Works - Licence Point Sampling
| License Point No. |  |  | 3
| Period |  |  | 2009 - 2010
DATE | BOD (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) | Total Phosphorous (mg/L) | Ammonia - N (mg/L)
2009-04-06 | 8 |  | 2 | 7.09 |  | 300 | < | 5 | 0.8 | 0.77 | < | 0.5
2009-05-20 | 7 |  | 4 | 7.38 |  | 16 | < | 5 | 2.6 | 0.19 | < | 0.5
2009-06-16 | 5 | < | 2 | 7.89 |  | 0 | < | 5 | 2 | 2 | < | 0.5
2009-08-05 | 5 |  | 2 | 7.82 |  | 0 | < | 5 | 2.2 | 0.17 | < | 0.5
2009-09-01 | 6 |  | 2 | 8.1 |  | 0 | < | 5 | 1.3 | 0.35 | < | 0.5
2009-09-02 | 4 |  | 9 | 7.7 |  |  |  |  | 4.9 | 0.54 |  | 1.3
2009-09-22 | 9 | < | 2 | 8.96 |  | 0 | < | 5 | 1.2 | 0.27 | < | 0.5
2009-10-20 | 9 |  | 2 | 9.34 |  | 0 | < | 5 | 0.8 | 0.6 | < | 0.5
2009-12-16 | 9 |  | 4 | 7.82 |  | 0 | < | 5 | 0.4 | 3.2 | < | 0.5
2010-01-14 | 13 |  | 11 | 8.51 |  | 0 | < | 5 | 5.5 | 1.1 |  | 1.6
2010-01-28 | 10 |  | 15 | 8.8 | < | 2 | < | 5 | 3.5 | 1.3 |  | 2
2010-03-04 | 16 |  | 10 | 7.5 |  | 4 | < | 5 | 2.2 | 2.3 |  | 1
2010-03-18 | 8 |  | 3 | 7.49 |  | 0 | < | 5 | 1.1 | 0.2 | < | 0.5
No of Samples Collected | 13 | 13 |  | 13 | 12 |  | 12 |  | 13 | 13 | 13
Lowest Sample Value | 4 | < | 2 | 7.09 | 0 |  | < | 5 | 0.4 | 0.17 | < | 0.5
Mean of Samples | 8.3846 | 5.2308 |  | 8.0308 | 26.8333 |  | 5 | 6.6667 | 2.1923 | 0.99923 | 0.8
Highest Sample Value | 16 | 15 |  | 9.34 | 300 |  | 5 |  | 5.5 | 3.2 | 2

## 2010-2011
ENGINEERING DEPARTMENT
Blayney Sewage Treatment Works - Licence Point Sampling
|  | License Point No. |  |  | 3
|  | Period |  |  | 2010 - 2011
| DATE | BOD (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Ammonia - N (mg/L)
| 2010-04-21 | 12 |  | 4 | 8.76 |  | 6 | < | 5 |  | 2.2 | 0.07 | < | 0.5
| 2010-05-27 | 12 |  | 10 | 8.57 |  | 2 | < | 5 |  | 3.4 | 0.5 |  | 1.9
| 2010-06-22 | 9 |  | 2 | 7.44 |  | 0 | < | 5 |  | 1.7 | 0.46 | < | 0.5
| 2010-08-04 | 10 |  | 2 | 7.62 |  | 3 | < | 5 |  | 1.4 | 0.15 | < | 0.5
| 2010-08-31 | 7 |  | 1 | 7.64 |  | 1 | < | 5 |  | 3.3 | 0.3 | < | 0.5
| 2010-10-28 | 11 |  | 10 | 7.89 |  | 3 | < | 5 |  | 1.3 | 0.49 | < | 0.5
| 2010-11-25 | 10 |  | 3 | 7.2 |  | 9 | < | 5 |  | 0.7 | 0.64 | < | 0.5
| 2010-12-16 | 7 |  | 6 | 8.78 |  | 0 | < | 5 |  | 0.8 | 0.53 | < | 0.5
| 2011-02-03 | 13 |  | 10 | 7.84 |  | 100 | < | 5 | < | 0.6 | 0.68 | < | 0.5
| 2011-03-02 | 11 |  | 16 | 8.23 |  | 200 | < | 5 | < | 0.6 | 1.2 | < | 0.5
| 2011-03-23 | 9 |  | 7 | 7.28 |  | 300 | < | 5 |  | 2.2 | 0.9 |  | 1.7
| No of Samples Collected | 11 | 11 |  | 11 | 11 |  | 11 |  | 11 |  | 11 | 11
| Lowest Sample Value | 7 |  | 1 | 7.2 | 0 |  | < | 5 |  | 0.6 | 0.07 | < | 0.5
| Mean of Samples | 10.0909 | 6.4545 |  | 7.9318 | 56.7273 |  | 5 | 6.1111 | 1.6545 |  | 0.53818 | 0.73636
| Highest Sample Value | 13 | 16 |  | 8.78 | 300 |  | 5 |  | 3.4 |  | 1.2 | 1.9
Flow | 228.91
Actual Load |  | 2309.91 | 1477.51 |  | 1815.6725 | 12985.44 |  | 1144.55 |  | 378.742 |  | 123.1952 | 168.561

## 2011-2012
ENGINEERING DEPARTMENT
Blayney Sewage Treatment Works - Licence Point Sampling
|  | License Point No. |  |  | 3
|  | Period |  |  | 2011 - 2012
| DATE | BOD (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Ammonia - N (mg/L)
| 2011-04-28 | 10 |  | 3 | 7.4 |  | 3 | < | 5 |  | 1.3 | 0.15 | < | 0.5
| 2011-05-25 | 8 |  | 3 | 7.6 |  | 63 | < | 5 |  | 4.1 | 0.08 | < | 0.5
| 2011-06-15 | 8 |  | 2 | 7.81 |  | 0 | < | 5 |  | 3.4 | 0.1 | < | 0.5
| 2011-07-20 | 7 |  | 1 | 7.78 |  | 0 | < | 5 |  | 3.1 | 0.06 | < | 0.5
| 2011-08-18 | 9 |  | 2 | 7.64 |  | 0 | < | 5 |  | 0.6 | 0.08 | < | 0.5
| 2011-09-28 | 11 |  | 5 | 8.16 |  | 0 | < | 5 |  | 0.7 | 0.23 | < | 0.5
| 2011-10-20 | 8 |  | 3 | 8.28 |  | 0 | < | 5 |  | 0.9 | 0.15 | < | 0.5
| 2011-12-06 | 7 |  | 4 | 7.51 |  | 36 | < | 5 |  | 2.6 | 0.77 |  | 0.9
| 2012-01-05 | 10 |  | 1 | 7.56 |  | 17 | < | 5 |  | 2.3 | 1.1 |  | 1.1
| 2012-01-19 | 7 |  | 1 | 7.69 |  | 24 | < | 5 |  | 0.7 | 0.8 | < | 0.5
| 2012-02-29 | 14 |  | 10 | 7.41 |  | 200 | < | 5 |  | 4.2 | 0.9 |  | 2
| 2012-03-15 | 10 |  | 6 | 7.57 |  | 5 | < | 5 |  | 6.2 | 0.11 | < | 0.5
| No of Samples Collected | 12 | 12 |  | 12 | 12 |  | 12 |  | 12 |  | 12 | 12
| Lowest Sample Value | 7 |  | 1 | 7.4 | 0 |  | < | 5 |  | 0.6 | 0.06 | < | 0.5
| Mean of Samples | 9.0833 | 3.4167 |  | 7.7008 | 29 |  | 5 | 6.6667 | 2.5083 |  | 0.3775 | 0.70833
| Highest Sample Value | 14 | 10 |  | 8.28 | 200 |  | 5 |  | 6.2 |  | 1.1 | 2
Flow | 265.78
Actual Load |  | 2414.1683 | 908.0817 |  | 2046.7275 | 7707.62 |  | 1328.9 |  | 666.6648 |  | 100.332 | 188.2608

## 2012-2013
|  |  | INFRASTRUCTURE SERVICES DEPARTMENT | [9 empty] | 91 Adelaide Street BLAYNEY NSW 2799
Blayney Sewage Treatment Works - Licence Point Sampling
|  |  | License Point No. |  |  | 3
|  |  | Period |  |  | 2012 - 2013
|  |  | Sampling Frequency |  |  | Monthly
|  |  | Published Date |  |  | 2013-05-17
| Date Sample Taken | Date Obtained | Biological Oxygen Demand (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Ammonia - N (mg/L)
Approved Concentration Limit
No limit or range defined in licence
| 2012-05-02 | 2012-05-21 | 9 |  | 5 | 7.71 |  | 26 | < | 5 |  | 2.6 | 0.44 |  | 0.9
| 2012-05-23 | 2012-06-08 | 7 |  | 11 | 9.04 |  | 8 | < | 5 |  | 1.6 | 0.11 | < | 0.5
| 2012-06-19 | 2012-07-13 | 11 |  | 17 | 8.79 |  | 0 | < | 5 |  | 1.2 | 0.17 | < | 0.5
| 2012-07-18 | 2012-07-29 | 12 |  | 2 | 7.25 |  | 0 | < | 5 |  | 4.3 | 0.26 |  | 1.7
| 2012-08-23 | 2012-09-11 | 10 |  | 2 | 7.54 |  | 0 | < | 5 |  | 3.5 | 0.22 |  | 1.1
| 2012-09-20 | 2012-09-28 | 13 |  | 19 | 9.32 |  | 0 | < | 5 |  | 1.6 | 0.12 | < | 0.5
| 2012-10-31 | 14/11/20112 | 15 |  | 8 | 7.48 |  | 7 | < | 5 |  | 4.7 | 0.86 |  | 2.9
| 21/11/20112 | 2012-12-05 | 16 |  | 7 | 7.57 |  | 38 | < | 5 |  | 4.8 | 1.3 |  | 3.7
| 2012-12-12 | 2012-12-28 | 12 |  | 5 | 7.75 |  | 192 | < | 5 |  | 1.1 | 0.96 | < | 0.5
| 2013-01-17 | 2013-01-31 | 9 |  | 1 | 7.88 |  | 0 | < | 5 |  | 2 | 0.47 | < | 0.5
| 2013-02-21 | 2013-03-04 | 12 |  | 3 | 7.61 |  | 210 | < | 5 |  | 2 | 1.4 |  | 1.5
| 2013-03-26 | 2013-04-09 | 12 |  | 10 | 7.67 |  | 3 | < | 5 |  | 1.2 | 0.94 | < | 0.5
| No of Samples Collected |  | 12 | 12 | 12 | 12 | 12 |  | 12 |  | 12 |  | 12 | 12
| Lowest Sample Value |  | 7 |  | 1 | 7.25 | 0 |  | < | 5 |  | 1.1 | 0.11 | < | 0.5
| Mean of Samples |  | 11.5 | 7.5 |  | 7.9675 | 40.3333 |  | 5 | 6.6667 | 2.55 |  | 0.60417 | 1.2333
| Highest Sample Value |  | 16 | 19 |  | 9.32 | 210 |  | 5 |  | 4.8 |  | 1.4 | 3.7
Flow | 311
Actual Load |  |  | 3576.5 | 2332.5 |  | 2477.8925 | 12543.6667 |  | 1555 |  | 793.05 |  | 187.8958 | 383.5667
|  |  | 16.82 | 756.65 |  |  |  |  | 765.54 |  |  | 227.51 | 2397.95 |  |  | 4164.47

## 2013-2014
|  |  | INFRASTRUCTURE SERVICES DEPARTMENT | [9 empty] | 91 Adelaide Street BLAYNEY NSW 2799 | [5 empty] | INFRASTRUCTURE SERVICES DEPARTMENT | [9 empty] | 91 Adelaide Street BLAYNEY NSW 2799
|  |  | Blayney Sewage Treatment Works - Licence Point Sampling | [15 empty] | Blayney Sewage Treatment Works - Licence Point Sampling
|  |  | License Point No. |  |  | 3 | [12 empty] | License Point No. |  |  | 2
|  |  | Period |  |  | 2013-2014 | [12 empty] | Period |  |  | 2013-2014
|  |  | Sampling Frequency |  |  | Monthly | [12 empty] | Sampling Frequency |  |  | Monthly
|  |  | Published Date |  |  | 2014-01-15 | [12 empty] | Published Date |  |  | 2014-01-15
| Date Sample Taken | Date Obtained | Biological Oxygen Demand (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Ammonia - N (mg/L) |  |  | Date Sample Taken | Date Obtained | Biological Oxygen Demand (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Ammonia - N (mg/L)
|  |  | Approved Concentration Limit | [15 empty] | Approved Concentration Limit
|  |  | No limit or range defined in licence | [15 empty] | No limit or range defined in licence
| 2013-05-23 | 2013-06-03 | 10 |  | 1 | 7.75 |  | 27 | < | 5 |  | 2.5 | 0.34 |  | 0.6
| 2013-06-25 | 2013-07-09 | 11 |  | 1 | 7.5 |  | 0 | < | 5 |  | 2.8 | 0.32 | < | 0.5
| 2013-07-25 | 2013-08-08 | 14 |  | 1 | 7.78 |  | 0 | < | 5 |  | 1.6 | 0.2 | < | 0.5 |  | 2013-07-25 | 2013-08-08 | 11 |  | 1 | 7.76 |  | 2 | < | 5 |  | 2 | 0.06 | < | 0.5
| 2013-08-22 | 2013-09-04 | 9 |  | 5 | 8.9 |  | 0 | < | 5 |  | 0.7 | 0.05 | < | 0.5 |  | 2013-08-22 | 2013-09-04 | 9 |  | 4 | 8.78 | ~ | 1 | < | 5 |  | 0.7 | 0.07 | < | 0.5
| 2013-09-27 | 2013-10-14 | 8 |  | 1 | 7.47 |  | 0 | < | 5 |  | 1.3 | 0.27 | < | 0.5 |  | 2013-09-27 | 2013-10-14 | 9 |  | 6 | 7.59 | ~ | 7 | < | 5 |  | 2.5 | 0.26 | < | 0.5
| 2013-10-24 | 2013-11-13 | 9 |  | 2 | 7.65 |  | 30 | < | 5 |  | 1.7 | 0.4 | < | 0.5 |  | No samples Taken
| 2013-11-13 | 2013-12-04 | 11 |  | 1 | 7.84 |  | 0 | < | 5 |  | 1.6 | 0.28 | < | 0.5 |  | No samples Taken
| 2013-12-12 | 2013-12-31 | 9 |  | 7 | 7.31 |  | 32 | < | 5 |  | 0.8 | 2.5 | < | 0.5 |  | 2013-12-12 | 2013-12-31 | 11 |  | 18 | 8.29 |  | 60 | < | 5 |  | 2 | 1.9 | < | 0.5
| 2014-01-15 | 2014-02-03 | 9 |  | 3 | 7.78 |  | 88 | < | 5 | < | 0.5 | 0.83 | < | 0.5 |  | No samples Taken
| 2014-02-28 | 2014-03-14 | 6 |  | 1 | 8.38 |  | 160 | < | 5 | < | 1.1 | 0.48 | < | 0.5 |  | 2014-02-28 | 2014-03-14 | 8 |  | 41 | 9.1 |  | 10 | < | 5 | < | 0.8 | 0.73 | < | 0.5
| No of Samples Collected |  | 10 | 10 | 10 | 10 | 10 |  | 10 |  | 10 |  | 10 | 10 |  |  | No of Samples Collected |  | 5 | 5 | 5 | 5 | 5 |  | 5 |  | 5 |  | 5 | 5
| Lowest Sample Value |  | 6 |  | 1 | 7.31 | 0 |  | < | 5 | < | 0.5 | 0.05 | < | 0.5 |  | Lowest Sample Value |  | 8 |  | 1 | 7.59 | 1 |  | < | 5 |  | 0.7 | 0.06 | < | 0.5
| Mean of Samples |  | 9.6 | 2.3 |  | 7.836 | 33.7 |  | 5 | 5.5556 | 1.46 |  | 0.567 | 0.51 |  |  | Mean of Samples |  | 9.6 | 14 |  | 8.304 | 16 |  | 5 | 2.7778 | 1.6 |  | 0.604 | 0.5
| Highest Sample Value |  | 14 | 7 |  | 8.9 | 160 |  | 5 |  | 2.8 |  | 2.5 | 0.6 |  |  | Highest Sample Value |  | 11 | 41 |  | 9.1 | 60 |  | 5 |  | 2.5 |  | 1.9 | 0.5
Flow | 119.95 | [14 empty] | Flow | 167.88
Actual Load |  |  | 1151.52 | 275.885 |  | 939.9282 | 4042.315 |  | 599.75 |  | 175.127 |  | 68.0117 | 61.1745 |  | Actual Load |  |  | 1611.648 | 2350.32 |  | 1394.0755 | 2686.08 |  | 839.4 |  | 268.608 |  | 101.3995 | 83.94

## 2014-2015
|  |  | INFRASTRUCTURE SERVICES DEPARTMENT | [9 empty] | 91 Adelaide Street BLAYNEY NSW 2799 | [6 empty] | INFRASTRUCTURE SERVICES DEPARTMENT | [9 empty] | 91 Adelaide Street BLAYNEY NSW 2799
|  |  | Blayney Sewage Treatment Works - Licence Point Sampling | [16 empty] | Blayney Sewage Treatment Works - Licence Point Sampling
|  |  | License Point No. |  |  | 3 | [13 empty] | License Point No. |  |  | 2
|  |  | Period |  |  | 2014-2015 | [13 empty] | Period |  |  | 2014-2015
|  |  | Sampling Frequency |  |  | Monthly | [13 empty] | Sampling Frequency |  |  | Monthly
|  |  | Published Date |  |  | 2014-12-15 | [13 empty] | Published Date |  |  | 2014-12-15
| Date Sample Taken | Date Obtained | Biological Oxygen Demand (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L) |  |  | Date Sample Taken | Date Obtained | Biological Oxygen Demand (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L)
|  |  | Approved Concentration Limit | [16 empty] | Approved Concentration Limit
|  |  | No limit or range defined in licence | [16 empty] | No limit or range defined in licence
| 2014-04-02 | 2014-04-15 | 14 |  | 6 | 7.46 |  | 59 | < | 5 |  | 0.8 | 0.81 |  |  | 0.6
| 2014-05-12 | 2014-05-23 | 8 |  | 3 | 7.6 | ~ | 2 | < | 5 |  | 1.7 | 0.22 |  | < | 0.5 |  | 2014-05-12 | 2014-05-23 | 7 |  | 3 | 7.62 | ~ | 4 | < | 5 |  | 2.2 | 0.11 |  | < | 0.5
| 2014-05-28 | 2014-06-12 | 13 |  | 2 | 7.78 | ~ | 1 | < | 5 |  | 1.2 | 0.09 |  | < | 0.5
| 2014-06-11 | 2014-06-25 | 10 |  | 2 | 7.83 |  | 10 | < | 5 |  | 1.1 | 0.77 | 0.25 | < | 0.5 |  | 2014-06-11 | 2014-06-25 | 8 |  | 3 | 8.01 |  | 10 | < | 5 |  | 1.6 | 0.14 | 0.25 | < | 0.5
| 2014-07-16 | 2014-07-30 | 9 | < | 1 | 7.75 | < | 1 | < | 5 |  | 1.8 | 0.09 |  | < | 0.5
| 2014-08-19 | 2014-09-03 | 7 |  | 1 | 7.79 |  | 13 | < | 5 |  | 0.98 | 0.09 |  | < | 0.5 |  | 2014-08-19 | 2014-09-03 | 8 |  | 5 | 7.78 | ~ | 3 | < | 5 |  | 0.9 | 0.09 | 0.2 | < | 0.5
| 2014-09-30 | 2014-10-16 | 9 |  | 5 | 7.48 | < | 1 | < | 5 |  | 0.8 | 0.36 |  | < | 0.5
| 2014-10-28 | 2014-11-12 | 10 |  | 3 | 7.91 | ~ | 1200 | < | 5 |  | 1.6 | 0.28 |  | < | 0.5 |  | 2014-10-28 | 2014-11-12 | 12 |  | 4 | 7.74 | < | 1 | < | 5 |  | 2.1 | 0.35 | 0.3 | < | 0.5
| 2014-11-25 | 2014-12-12 | 12 |  | 6 | 7.91 |  | 39 | < | 5 |  | 0.5 | 0.91 |  | < | 0.5
| 2014-12-10 | 2015-01-02 | 11 |  | 4 | 7.65 | ~ | 9 | < | 5 |  | 3.3 | 4.7 |  | < | 0.5 |  | 2014-12-10 | 2015-01-02 | 10 |  | 4 | 7.55 | ~ | 8 | < | 5 |  | 2.1 | 3.2 | 0.2 | < | 0.5
| 2015-01-20 | 2015-02-05 | 9 |  | 8 | 7.7 | < | 1 | < | 5 |  | 2 | 0.56 |  | < | 0.5 |  | 2015-01-20 | 2015-02-05 | 12 |  | 8 | 7.54 | ~ | 80 | < | 5 |  | 1.4 | 0.6 | 0.4 | < | 0.5
| 2015-03-03 | 2015-03-20 | 11 |  | 5 | 8.25 | ~ | 35 | < | 5 | < | 0.8 | 0.63 |  | < | 0.5 |  | 2015-03-03 | 2015-03-20 | 12 |  | 4 | 8.03 | ~ | 100 | < | 5 | < | 0.9 | 0.51 | 0.42 | < | 0.5
| No of Samples Collected |  | 12 | 12 | 12 | 12 | 12 |  | 12 |  | 12 |  | 12 | 1 | 12 |  |  | No of Samples Collected |  | 7 | 7 | 7 | 7 | 7 |  | 7 |  | 7 |  | 7 | 6 | 7
| Lowest Sample Value |  | 7 |  | 1 | 7.46 | 1 |  | < | 5 | < | 0.5 | 0.09 | 0.25 | < | 0.5 |  | Lowest Sample Value |  | 7 |  | 3 | 7.54 | 1 |  | < | 5 | < | 0.9 | 0.09 | 0.2 | < | 0.5
| Mean of Samples |  | 10.25 | 3.8333 |  | 7.7592 | 114.25 |  | 5 | 6.6667 | 1.3817 |  | 0.7925 | 0.25 | 0.50833 |  |  | Mean of Samples |  | 9.8571 | 4.4286 |  | 7.7529 | 29.4286 |  | 5 | 3.8889 | 1.6 |  | 0.71429 | 0.295 | 0.5
| Highest Sample Value |  | 14 | 8 |  | 8.25 | 1200 |  | 5 |  | 3.3 |  | 4.7 | 0.25 | 0.6 |  |  | Highest Sample Value |  | 12 | 8 |  | 8.03 | 100 |  | 5 |  | 2.2 |  | 3.2 | 0.42 | 0.5
Flow |  | 283 | [14 empty] | Flow |  | 0
Actual Load |  |  | 2900.75 | 1084.8333 |  | 2195.8442 | 32332.75 |  | 1415 |  | 391.0117 |  | 224.2775 | 70.75 | 143.8583 |  | Actual Load |  |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0

## 2015-2016
|  |  | INFRASTRUCTURE SERVICES DEPARTMENT | [9 empty] | 91 Adelaide Street BLAYNEY NSW 2799 | [6 empty] | INFRASTRUCTURE SERVICES DEPARTMENT | [9 empty] | 91 Adelaide Street BLAYNEY NSW 2799
|  |  | Blayney Sewage Treatment Works - Licence Point Sampling | [16 empty] | Blayney Sewage Treatment Works - Licence Point Sampling
|  |  | License Point No. |  |  | 3 | [13 empty] | License Point No. |  |  | 2
|  |  | Period |  |  | 2015-2016 | [13 empty] | Period |  |  | 2015-2016
|  |  | Sampling Frequency |  |  | Monthly | [13 empty] | Sampling Frequency |  |  | Yearly
|  |  | Published Date |  |  | 2016-05-01 | [13 empty] | Published Date |  |  | 2016-05-01
| Point 1 License Conditions 100%ile |  | 30 |  | 30 | 6.5-8.5 |  | 600 |  | 10 |  | 15 | 1 | N/A |  | 2
| Date Sample Taken | Date Obtained | Biological Oxygen Demand (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L) |  |  | Date Sample Taken | Date Obtained | Biological Oxygen Demand (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L)
|  |  | Approved Concentration Limit | [16 empty] | Approved Concentration Limit
|  |  | No limit or range defined in licence | [16 empty] | No limit or range defined in licence
| 2015-04-29 | 2015-05-01 | 16 |  | 7 | 7.6 |  | 6 | < | 5 | < | 0.5 | 0.6 |  | < | 0.5
| 2015-05-20 | 2015-06-12 | 12 |  | 3 | 8.7 | < | 1 | < | 5 |  | 1.4 | 0.2 |  | < | 0.5
| 2015-06-17 | 2015-07-07 | 10 |  | 13 | 9.41 | < | 1 | < | 5 | < | 1 | 0.49 |  | < | 0.5 |  | 2015-06-19 | 2015-07-07 | 13 |  | 1 | 8.95 | < | 1 | < | 5 |  | 0.8 | 0.48 | 0.2 | < | 0.5
Issue with Courier not picking up samples
| 2015-08-05 | 2015-08-18 | 9 |  | 12 | 7.55 | < | 1 | < | 5 |  | 2.5 | 0.21 |  | < | 0.5
| 2015-08-26 | 2015-09-09 | 10 |  | 4 | 7.62 |  | 3 | < | 5 |  | 1.5 | 0.28 |  | < | 0.5 |  | 2015-08-28 | 2015-09-09 | 12 |  | 4 | 7.75 |  | 17 | < | 5 |  | 1.9 | 0.25 | 0.82 | < | 0.5
| 2015-09-29 | 2015-10-12 | 12 |  | 6 | 8.97 | < | 1 | < | 5 |  | 1.8 | 0.19 |  | < | 0.5
| 2015-10-28 | 2015-11-13 | 8 |  | 9 | 7.63 | < | 1 | < | 5 |  | 0.8 | 0.47 |  | < | 0.5
| 2015-11-25 | 2015-12-11 | 10 |  | 8 | 8.54 |  | 2 | < | 5 |  | 1.1 | 0.45 |  | < | 0.5
| 2015-12-09 | 2015-12-23 | 8 |  | 14 | 8.71 |  | 68 | < | 5 |  | 0.4 | 1 |  | < | 0.5
| 2016-01-13 | 2016-01-29 | 10 |  | 5 | 7.87 | < | 1 | < | 5 | < | 0.6 | 1.5 |  | < | 0.5
| 2016-02-10 | 2016-02-24 | <5 |  | 6 | 7.57 |  | 60 | < | 5 |  | 1.1 | 1.2 |  | < | 0.5 |  | 2015-02-10 | 2015-02-24 | <5 |  | 5 | 7.64 |  | 40 | < | 5 |  | 1.3 | 1.2 | 1.3 | < | 0.5
| 2016-03-30 | 2016-04-14 | 9 |  | 17 | 7.99 |  | 260 | < | 5 | < | 0.9 | 0.5 |  | < | 0.5
| No of Samples Collected |  | 12 | 12 | 12 | 12 | 12 |  | 12 |  | 12 |  | 12 | 0 | 12 |  |  | No of Samples Collected |  | 3 | 3 | 3 | 3 | 3 |  | 3 |  | 3 |  | 3 | 3 | 3
| Lowest Sample Value |  | 8 |  | 3 | 7.55 | 1 |  | < | 5 | < | 0.4 | 0.19 | 0 | < | 0.5 |  | Lowest Sample Value |  | 5 |  | 1 | 7.64 | 1 |  | < | 5 | < | 0.8 | 0.25 | 0.2 | < | 0.5
| Mean of Samples |  | 9.5 | 8.6667 |  | 8.18 | 33.75 |  | 5 | 6.6667 | 1.1333 |  | 0.59083 | #DIV/0! | 0.5 |  |  | Mean of Samples |  | 8.3333 | 3.3333 |  | 8.1133 | 19.3333 |  | 5 | 1.6667 | 1.3333 |  | 0.64333 | 0.77333 | 0.5
| Highest Sample Value |  | 16 | 17 |  | 9.41 | 260 |  | 5 |  | 2.5 |  | 1.5 | 0 | 0.5 |  |  | Highest Sample Value |  | 13 | 5 |  | 8.95 | 40 |  | 5 |  | 1.9 |  | 1.2 | 1.3 | 0.5
Flow |  | 327.5 | [14 empty] | Flow |  | 0
Actual Load |  |  | 3111.25 | 2838.3333 |  | 2678.95 | 11053.125 |  | 1637.5 |  | 371.1667 |  | 193.4979 | #DIV/0! | 163.75 |  | Actual Load |  |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0

## 2016-2017
|  |  | INFRASTRUCTURE SERVICES DEPARTMENT | [9 empty] | 91 Adelaide Street BLAYNEY NSW 2799 | [5 empty] | INFRASTRUCTURE SERVICES DEPARTMENT | [9 empty] | 91 Adelaide Street BLAYNEY NSW 2799
|  |  | Blayney Sewage Treatment Works - Licence Point Sampling | [15 empty] | Blayney Sewage Treatment Works - Licence Point Sampling
|  |  | License Point No. |  |  | 1 |  |  | Point 1 to be sampled if discharge to river occurs | [9 empty] | License Point No. |  |  | 3
|  |  | Period |  |  | 2016-2017 | [12 empty] | Period |  |  | 2016-2017
|  |  | Sampling Frequency |  |  | If discharge to creek occurs | [12 empty] | Sampling Frequency |  |  | Monthly
|  |  | Published Date | [15 empty] | Published Date
| Point 1 License Conditions 100%ile |  | 30 |  | 30 | 6.5-8.5 |  | 600 |  | 10 |  | 15 | 1 | N/A |  | 2
| Date Sample Taken | Date Obtained | Biochemical Oxygen Demand (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L) |  | Date Sample Taken | Date Obtained | Biochemical Oxygen Demand (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L)
|  |  | Approved Concentration Limit | [15 empty] | Approved Concentration Limit
|  |  | No limit or range defined in licence | [15 empty] | No limit or range defined in licence
| 2016-06-28 | 2016-07-13 | 6 | < | 1 | 7.13 |  | 34 | < | 5 |  | 0.8 | 0.23 | 0.49 | < | 0.5 | 2016-04-27 | 2016-05-10 | 12 |  | 8 | 7.65 |  | 30 | < | 5 |  | 0.7 | 0.49 |  | < | 0.5
| 2016-07-19 | 2016-08-03 | 5 | < | 1 | 7.15 |  | 58 | < | 5 |  | 0.6 | 0.26 | 0.2 | < | 0.5 | 2016-05-24 | 2016-06-07 | 9 |  | 6 | 7.63 |  | 17 | < | 5 |  | 1.1 | 0.56 |  | < | 0.5
| 2016-09-07 | 2016-09-26 | 11 |  | 9 | 6.94 |  | 3 | < | 5 |  | 2.3 | 0.1 | 1.1 |  | 1 | 2016-06-16 | 2016-06-30 | 7 |  | 3 | 7.61 |  | 1 | < | 5 |  | 1.7 | 0.32 |  | < | 0.5
| 2016-10-25 | 2016-11-08 | 2 |  | 4 | 7.38 | * | 2000 | < | 5 | < | 0.5 | 0.28 | 0.29 | < | 0.5 | 2016-07-19 | 2016-08-03 | 8 |  | 1 | 7.51 |  | 69 | < | 5 |  | 3.2 | 0.34 |  |  | 1.3
| 2016-12-21 | 2017-01-10 | 20 |  | 7 | 7.3 |  | 60 | < | 5 |  | 9.5 | 0.38 | 0.2 |  | 8.9 | 2016-08-16 | 2016-09-01 | 13 |  | 1 | 7.56 | < | 1 | < | 5 |  | 4.1 | 0.23 |  |  | 1.3
[17 empty] | 2016-09-07 | 2016-09-26 | 13 |  | 1 | 7.5 | < | 1 | < | 5 |  | 6.5 | 0.26 |  |  | 1.3
[17 empty] | 2016-10-25 | 2016-11-08 | 2 |  | 1 | 9.2 | < | 1 | < | 5 | < | 0.5 | 0.28 |  | < | 0.5
[17 empty] | 2016-11-21 | 2016-12-06 | 2 |  | 2 | 8.8 | < | 1 | < | 5 |  | 2.6 | 0.36 |  |  | 1.5
[17 empty] | 2016-12-16 | 2017-01-03 | 9 |  | 8 | 9.35 | < | 1 | < | 5 |  | 1.7 | 0.25 |  |  | 1
[17 empty] | 2017-02-27 | 2017-03-14 | 9 |  | 15 | 8.11 |  | 80 | < | 5 |  | 0.2 | 0.29 |  | < | 0.5
[17 empty] | 2017-03-13 | 2017-04-03 | 9 |  | 4 | 8.85 |  | 3 | < | 5 |  | 0.7 | 0.4 |  | < | 0.5
[17 empty] | 2017-04-19 | 2017-05-03 | 16 |  | 22 | 9.53 | < | 10 | < | 5 |  | 4.1 | 0.42 |  |  | 3.6
*Suspected error
| No of Samples Collected |  | 5 | 5 | 5 | 5 | 5 |  | 5 |  | 5 |  | 5 | 5 | 5 |  | No of Samples Collected |  | 12 | 12 | 12 | 12 | 12 |  | 12 |  | 12 |  | 12 | 0 | 12
| Lowest Sample Value |  | 2 |  | 1 | 6.94 | 3 |  | < | 5 | < | 0.5 | 0.1 | 0.2 | < | 0.5 | Lowest Sample Value |  | 2 |  | 1 | 7.5 | 1 |  | < | 5 | < | 0.2 | 0.23 | 0 | < | 0.5
| Mean of Samples |  | 8.8 | 4.4 |  | 7.18 | 431 |  | 5 | 2.7778 | 2.74 |  | 0.25 | 0.456 | 2.28 |  | Mean of Samples |  | 9.0833 | 6 |  | 8.275 | 17.9167 |  | 5 | 6.6667 | 2.2583 |  | 0.35 | #DIV/0! | 1.0833
| Highest Sample Value |  | 20 | 9 |  | 7.38 | 2000 |  | 5 |  | 9.5 |  | 0.38 | 1.1 | 8.9 |  | Highest Sample Value |  | 16 | 22 |  | 9.53 | 80 |  | 5 |  | 6.5 |  | 0.56 | 0 | 3.6
0
[19 empty] | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | #DIV/0! | 0
|  |  | INFRASTRUCTURE SERVICES DEPARTMENT | [9 empty] | 91 Adelaide Street BLAYNEY NSW 2799
Blayney Sewage Treatment Works - Licence Point Sampling
|  |  | License Point No. |  |  | 2
|  |  | Period |  |  | 2016-2017
|  |  | Sampling Frequency |  |  | Yearly
Published Date
| Date Sample Taken | Date Obtained | Biological Oxygen Demand (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L)
Approved Concentration Limit
No limit or range defined in licence
| 2016-06-28 | 2016-07-13 | 7 |  | 1 | 7.58 |  | 110 | < | 5 |  | 3.6 | 0.29 | 0.6 | < | 0.5
| 2016-07-19 | 2016-08-03 | 5 |  | 1 | 7.54 |  | 33 | < | 5 |  | 1.4 | 0.36 | 0.2 | < | 0.5
| 2016-08-18 | 2016-09-01 | 12 |  | 1 | 7.7 |  | 4 | < | 5 |  | 4.3 | 0.22 | 0.2 |  | 0.7
| 2016-09-07 | 2016-09-26 | 14 |  | 2 | 7.58 | < | 1 | < | 5 |  | 6.8 | 0.14 | 0.36 |  | 1
| 2016-10-25 | 2016-11-08 | 3 |  | 1 | 9.02 | < | 1 | < | 5 |  | 1.3 | 0.28 | 0.36 | < | 0.5
| 2016-12-16 | 2017-01-03 | 10 |  | 11 | 9.3 |  | 7 | < | 5 |  | 1.9 | 0.51 | 0.76 | < | 1
| No of Samples Collected |  | 6 | 6 | 6 | 6 | 6 |  | 6 |  | 6 |  | 6 | 6 | 6
| Lowest Sample Value |  | 5 |  | 1 | 7.54 | 1 |  | < | 5 | < | 1.3 | 0.14 | 0.2 | < | 0.5
| Mean of Samples |  | 8.5 | 2.8333 |  | 8.12 | 26 |  | 5 | 3.3333 | 3.2167 |  | 0.3 | 0.41333 | 0.7
| Highest Sample Value |  | 14 | 11 |  | 9.3 | 110 |  | 5 |  | 6.8 |  | 0.51 | 0.76 | 1
Flow |  | 0
Actual Load |  |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0

## 2017-2018
|  |  | INFRASTRUCTURE SERVICES DEPARTMENT | [9 empty] | 91 Adelaide Street BLAYNEY NSW 2799 | [5 empty] | INFRASTRUCTURE SERVICES DEPARTMENT | [9 empty] | 91 Adelaide Street BLAYNEY NSW 2799
|  |  | Blayney Sewage Treatment Works - Licence Point Sampling | [15 empty] | Blayney Sewage Treatment Works - Licence Point Sampling
|  |  | License Point No. |  |  | 1 |  |  | Point 1 to be sampled if discharge to river occurs | [9 empty] | License Point No. |  |  | 3
|  |  | Period |  |  | 2017-2018 | [12 empty] | Period |  |  | 2017-2018
|  |  | Sampling Frequency |  |  | If discharge to creek occurs | [12 empty] | Sampling Frequency |  |  | Monthly
|  |  | Published Date | [15 empty] | Published Date
| Date Sample Taken | Date Reported | Biochemical Oxygen Demand (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L) |  | Date Sample Taken | Date Reported | Biochemical Oxygen Demand (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L)
|  |  | Point 1 License Conditions 100%ile | [15 empty] | Approved Concentration Limit
|  |  | 30 | 30 |  | 6.5-8.5 | 600 |  | 10 |  | 15 |  | 1 | N/A | 2 |  |  |  | No limit or range defined in licence
[17 empty] | 2017-05-23 | 2017-06-08 | 12 |  | 4 | 7.55 |  | 6 | < | 5 |  | 3.2 | 0.2 |  |  | 1.3
[17 empty] | 2017-06-21 | 2017-07-06 | 12 |  | 6 | 7.35 |  | 17 | < | 5 |  | 4.8 | 0.24 |  |  | 3.2
[17 empty] | 2017-07-26 | 2017-08-11 | 8 |  | 2 | 8.08 | < | 1 | < | 5 |  | 3 | 0.22 |  |  | 1.3
[17 empty] | 2017-08-30 | 2017-09-15 | 12 |  | 7 | 7.51 | < | 1 | < | 5 |  | 2.5 | 0.43 |  |  | 1
[17 empty] | 2017-10-12 | 2017-10-13 | 10 |  | 8 | 7.55 |  | 39 | < | 5 |  | 6.3 | 0.29 |  |  | 2.1
[17 empty] | 2017-11-09 | 2017-11-24 | 9 |  | 16 | 9.18 | < | 5 | < | 5 |  | 2.5 | 0.51 |  |  | 1.3
[17 empty] | 2017-12-05 | 2017-12-18 | 13 |  | 6 | 7.97 |  | 14 | < | 5 |  | 2 | 0.43 |  |  | 1.3
[17 empty] | 2018-01-16 | 2018-02-01 | 12 |  | 2 | 8.63 |  | 81 | < | 5 | < | 0.5 | 0.46 |  | < | 0.5
[17 empty] | 2018-02-15 | 2018-02-27 | 2 |  | 11 | 7.97 |  | 400 | < | 5 |  | 2.3 | 0.29 |  |  | 0.7
[17 empty] | 2018-03-14 | 2018-03-27 | 3 |  | 5 | 9.24 | < | 10 | < | 5 |  | 1.7 | 0.46 |  | < | 0.5
| No of Samples Collected |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | No of Samples Collected |  | 10 | 10 | 10 | 10 | 10 |  | 10 |  | 10 |  | 10 | 0 | 10
| Lowest Sample Value |  | 0 |  | 0 | 0 | 0 |  | < | 0 | < | 0 | 0 | 0 | < | 0 | Lowest Sample Value |  | 2 |  | 2 | 7.35 | 1 |  | < | 5 | < | 0.5 | 0.2 | 0 | < | 0.5
| Mean of Samples |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | 0 | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! |  | Mean of Samples |  | 9.3 | 6.7 |  | 8.103 | 57.4 |  | 5 | 5.5556 | 2.88 |  | 0.353 | #DIV/0! | 1.32
| Highest Sample Value |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | Highest Sample Value |  | 13 | 16 |  | 9.24 | 400 |  | 5 |  | 6.3 |  | 0.51 | 0 | 3.2
0
[19 empty] | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | #DIV/0! | 0
|  |  | INFRASTRUCTURE SERVICES DEPARTMENT | [9 empty] | 91 Adelaide Street BLAYNEY NSW 2799
Blayney Sewage Treatment Works - Licence Point Sampling
|  |  | License Point No. |  |  | 2
|  |  | Period |  |  | 2017-2018
|  |  | Sampling Frequency |  |  | Yearly
Published Date
| Date Sample Taken | Date Reported | Biological Oxygen Demand (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L)
Approved Concentration Limit
No limit or range defined in licence
| 2018-01-16 | 2018-02-01 | 11 |  | 7 | 8.44 |  | 800 | < | 5 | < | 0.7 | 0.72 |  | < | 0.5
| 2018-02-15 | 2018-02-27 | 2 |  | 9 | 7.9 |  | 540 | < | 5 |  | 2.8 | 0.4 | 0.48 |  | 0.7
| 2018-03-14 | 2018-03-27 | 2 |  | 12 | 9.44 |  | 30 | < | 5 |  | 1.5 | 0.24 | 0.3 | < | 0.5
| No of Samples Collected |  | 3 | 3 | 3 | 3 | 3 |  | 3 |  | 3 |  | 3 | 2 | 3
| Lowest Sample Value |  | 2 |  | 7 | 7.9 | 30 |  | < | 5 | < | 0.7 | 0.24 | 0.3 | < | 0.5
| Mean of Samples |  | 5 | 9.3333 |  | 8.5933 | 456.6667 |  | 5 | 1.6667 | 1.6667 |  | 0.45333 | 0.39 | 0.56667
| Highest Sample Value |  | 11 | 12 |  | 9.44 | 800 |  | 5 |  | 2.8 |  | 0.72 | 0.48 | 0.7
Flow |  | 0
Actual Load |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!

## 2018-2019
|  |  | INFRASTRUCTURE SERVICES DEPARTMENT | [9 empty] | 91 Adelaide Street BLAYNEY NSW 2799 | [5 empty] | INFRASTRUCTURE SERVICES DEPARTMENT | [9 empty] | 91 Adelaide Street BLAYNEY NSW 2799
|  |  | Blayney Sewage Treatment Works - Licence Point Sampling | [15 empty] | Blayney Sewage Treatment Works - Licence Point Sampling
|  |  | License Point No. |  |  | 1 |  |  | Point 1 to be sampled if discharge to river occurs | [9 empty] | License Point No. |  |  | 3
|  |  | Period |  |  | 2018-2019 | [12 empty] | Period |  |  | 2018-2019
|  |  | Sampling Frequency |  |  | If discharge to creek occurs | [12 empty] | Sampling Frequency |  |  | Monthly
|  |  | Published Date | [15 empty] | Published Date
| Date Sample Taken | Date Reported | Biochemical Oxygen Demand (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L) |  | Date Sample Taken | Date Reported | Biochemical Oxygen Demand (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L)
|  |  | Point 1 License Conditions 100%ile | [15 empty] | Approved Concentration Limit
|  |  | 30 | 30 |  | 6.5-8.5 | 600 |  | 10 |  | 15 |  | 1 | N/A | 2 |  |  |  | No limit or range defined in licence
| 2018-11-29 | 2018-11-30 | 5 |  | 2 | 7.18 |  | 440 | < | 5 |  | 2.1 | 0.28 | 0.51 | < | 0.5 | 2018-04-12 | 2018-04-26 | 5 |  | 11 | 7.63 |  | 180 | < | 5 |  | 4.3 | 0.33 |  | < | 0.5
[17 empty] | 2018-05-08 | 2018-05-21 | 5 |  | 14 | 8.05 |  | 70 | < | 5 |  | 3.5 | 0.24 |  |  | 0.7
[17 empty] | 2018-06-27 | 2018-07-12 | 6 |  | 11 | 9.52 | < | 1 | < | 5 |  | 1.7 | 0.13 |  | < | 0.5
[17 empty] | 2018-07-25 | 2018-08-07 | 4 |  | 10 | 7.95 |  | 6 | < | 5 |  | 1 | 0.08 |  | < | 0.5
[17 empty] | 2018-08-16 | 2018-08-29 | 4 |  | 11 | 9.38 | < | 1 | < | 5 |  | 2.2 | 0.17 |  |  | 0.7
[17 empty] | 2018-10-03 | 2018-10-23 | 2 |  | 7 | 7.9 |  | 36 | < | 5 |  | 5.5 | 0.49 |  |  | 2.4
[17 empty] | 2018-10-23 | 2018-11-06 | 8 |  | 5 | 7.62 |  | 100 | < | 5 |  | 20 | 0.43 |  |  | 2.4
[17 empty] | 2018-11-14 | 2018-11-27 | 6 |  | 10 | 7.28 | < | 100 | < | 5 |  | 5 | 0.41 |  |  | 0.7
[17 empty] | 2018-12-12 | 2018-12-24 | 7 |  | 8 | 8.85 |  | 270 | < | 5 |  | 3.2 | 0.56 |  | < | 0.5
[17 empty] | 2019-01-09 | 2019-01-22 | 11 |  | 27 | 8.24 |  | 3 | < | 5 |  | 3.8 | 0.74 |  |  | 1.5
[17 empty] | 2019-02-12 | 2019-02-27 | 5 |  | 11 | 7.88 |  | 250 | < | 5 |  | 2.1 | 0.22 |  | < | 0.5
[17 empty] | 2019-03-06 | 2019-03-20 | 7 |  | 2 | 9.61 |  | 200 | < | 5 |  | 2.4 | 0.21 |  | < | 0.5
| No of Samples Collected |  | 1 | 1 | 1 | 1 | 1 |  | 1 |  | 1 |  | 1 | 1 | 1 |  | No of Samples Collected |  | 12 | 12 | 12 | 12 | 12 |  | 12 |  | 12 |  | 12 | 0 | 12
| Lowest Sample Value |  | 5 |  | 2 | 7.18 | 440 |  | < | 5 | < | 2.1 | 0.28 | 0.51 | < | 0.5 | Lowest Sample Value |  | 2 |  | 2 | 7.28 | 1 |  | < | 5 | < | 1 | 0.08 | 0 | < | 0.5
| Mean of Samples |  | 5 | 2 |  | 7.18 | 440 |  | 5 | 0.55556 | 2.1 |  | 0.28 | 0.51 | 0.5 |  | Mean of Samples |  | 5.8333 | 10.5833 |  | 8.3258 | 101.4167 |  | 5 | 6.6667 | 4.5583 |  | 0.33417 | #DIV/0! | 0.95
| Highest Sample Value |  | 5 | 2 |  | 7.18 | 440 |  | 5 |  | 2.1 |  | 0.28 | 0.51 | 0.5 |  | Highest Sample Value |  | 11 | 27 |  | 9.61 | 270 |  | 5 |  | 20 |  | 0.74 | 0 | 2.4
0
[19 empty] | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | #DIV/0! | 0
|  |  | INFRASTRUCTURE SERVICES DEPARTMENT | [9 empty] | 91 Adelaide Street BLAYNEY NSW 2799
Blayney Sewage Treatment Works - Licence Point Sampling
|  |  | License Point No. |  |  | 2
|  |  | Period |  |  | 2018-2019
|  |  | Sampling Frequency |  |  | Yearly
Published Date
| Date Sample Taken | Date Reported | Biological Oxygen Demand (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L)
Approved Concentration Limit
No limit or range defined in licence
| 2018-08-16 | 2018-08-29 | 5 |  | 12 | 9.23 | < | 1 | < | 5 |  | 1.9 | 0.16 | 0.42 |  | 0.7
| 2018-10-03 | 2018-10-23 | 5 |  | 39 | 7.47 |  | 1100 | < | 5 |  | 3.2 | 0.43 | 1.2 |  | 1.5
| 2018-10-23 | 2018-11-06 | 6 |  | 6 | 7.72 |  | 50 | < | 5 |  | 9.2 | 0.44 | 0.44 | < | 0.5
| 2018-11-14 | 2018-11-27 | 5 |  | 5 | 7.4 | < | 100 | < | 5 |  | 3.9 | 0.41 | 0.29 | < | 0.5
| 2018-11-29 | 2018-11-30 | 5 |  | 4 | 7.63 | > | 80 | < | 5 |  | 4 | 0.34 | 0.56 | < | 0.5
| No of Samples Collected |  | 5 | 5 | 5 | 5 | 5 |  | 5 |  | 5 |  | 5 | 5 | 5
| Lowest Sample Value |  | 5 |  | 4 | 7.4 | 1 |  | < | 5 | < | 1.9 | 0.16 | 0.29 | < | 0.5
| Mean of Samples |  | 5.2 | 13.2 |  | 7.89 | 266.2 |  | 5 | 2.7778 | 4.44 |  | 0.356 | 0.582 | 0.74
| Highest Sample Value |  | 6 | 39 |  | 9.23 | 1100 |  | 5 |  | 9.2 |  | 0.44 | 1.2 | 1.5
Flow |  | 0
Actual Load |  |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0

## 2019-2020
|  | INFRASTRUCTURE SERVICES DEPARTMENT | [10 empty] | 91 Adelaide Street BLAYNEY NSW 2799 | [7 empty] | INFRASTRUCTURE SERVICES DEPARTMENT | [9 empty] | 91 Adelaide Street BLAYNEY NSW 2799
|  | Blayney Sewage Treatment Works - Licence Point Sampling | [18 empty] | Blayney Sewage Treatment Works - Licence Point Sampling
|  | License Point No. |  |  |  | 1 |  |  | Point 1 to be sampled if discharge to river occurs | [11 empty] | License Point No. |  |  | 3
|  | Period |  |  |  | 2019-2020 | [14 empty] | Period |  |  | 2019-2020
|  | Sampling Frequency |  |  |  | If discharge to creek occurs | [14 empty] | Sampling Frequency |  |  | Monthly
|  | Published Date | [18 empty] | Published Date
Date Sample Taken | Date Reported | Biochemical Oxygen Demand (mg/L) |  | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L) |  | UVT % @ 254nm | UVT % @ 270nm | Date Sample Taken | Date Reported | Biochemical Oxygen Demand (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L)
|  | Point 1 License Conditions 100%ile | [18 empty] | Approved Concentration Limit
|  | 30 |  | 30 |  | 6.5-8.5 | 600 |  | 10 |  | 15 |  | 1 | N/A | 2 | [5 empty] | No limit or range defined in licence
2020-01-07 | 2020-01-21 | < | 5 |  | 27 | 7.4 |  | 3800 | < | 5 |  | 3.2 | 0.25 | 0.35 | < | 0.5 |  |  | 2019-04-10 | 2019-04-23 | 5 |  | 7 | 8.64 |  | 40 | < | 5 |  | 1.7 | 0.41 |  | < | 0.5
2020-02-12 | 2020-02-25 | < | 5 |  | 1 | 7.2 |  | 42 | < | 5 |  | 6.2 | 0.38 | 0.2 | < | 0.5 |  |  | 2019-05-08 | 2019-05-22 | 8 |  | 2 | 7.84 | < | 1 | < | 5 |  | 7.8 | 0.26 |  |  | 2.8
2020-03-11 | 2020-03-24 | < | 5 |  | 2 | 7.34 |  | 100 | < | 5 |  | 5.7 | 0.57 | 0.23 | < | 0.5 | 50 | 56 | 2019-06-04 | 2019-06-19 | 9 |  | 3 | 7.66 |  | 15 | < | 5 |  | 8.8 | 0.69 |  |  | 3.2
[19 empty] | 2019-07-09 | 2019-07-22 | 6 |  | 4 | 7.72 |  | 4 | < | 5 |  | 7.1 | 0.2 |  |  | 2.1
[19 empty] | 2019-08-14 | 2019-08-27 | 5 |  | 11 | 9.64 | < | 1 | < | 5 |  | 9.1 | 0.2 |  | < | 0.5
[19 empty] | 2019-09-19 | 2019-10-01 | 5 |  | 6 | 8.75 |  | 15 | < | 5 |  | 3.2 | 0.23 |  | < | 0.5
[19 empty] | 2019-10-17 | 2019-10-30 | 5 |  | 5 | 8.89 |  | 6 | < | 5 |  | 6.3 | 0.26 |  | < | 0.5
[19 empty] | 2019-11-19 | 2019-12-05 | 6 |  | 7 | 8.24 |  | 47 | < | 5 |  | 7 | 0.21 |  | < | 0.5
[19 empty] | 2019-12-11 | 2019-12-23 | 5 |  | 6 | 7.76 |  | 14 | < | 5 |  | 5.2 | 0.66 |  | < | 0.5
CVO Effluent transfer System Suspended 11/12/2019
No of Samples Collected |  | 3 |  | 3 | 3 | 3 | 3 |  | 3 |  | 3 |  | 3 | 3 | 3 |  |  |  | No of Samples Collected |  | 9 | 9 | 9 | 9 | 9 |  | 9 |  | 9 |  | 9 | 0 | 9
Lowest Sample Value |  | < | 5 |  | 1 | 7.2 | 42 |  | < | 5 | < | 3.2 | 0.25 | 0.2 | < | 0.5 |  |  | Lowest Sample Value |  | 5 |  | 2 | 7.66 | 1 |  | < | 5 | < | 1.7 | 0.2 | 0 | < | 0.5
Mean of Samples |  | 5 | 1.6667 | 10 |  | 7.3133 | 1314 |  | 5 | 1.6667 | 5.0333 |  | 0.4 | 0.26 | 0.5 |  |  |  | Mean of Samples |  | 6 | 5.6667 |  | 8.3489 | 15.8889 |  | 5 | 5 | 6.2444 |  | 0.34667 | #DIV/0! | 1.2333
Highest Sample Value |  | 5 |  | 27 |  | 7.4 | 3800 |  | 5 |  | 6.2 |  | 0.57 | 0.35 | 0.5 |  |  |  | Highest Sample Value |  | 9 | 11 |  | 9.64 | 47 |  | 5 |  | 9.1 |  | 0.69 | 0 | 3.2
37095000
|  | 185.475 |  | 370.95 |  | 271.2881 | 48742.83 |  | 185.475 |  | 186.7115 |  | 14.838 | 9.6447
|  | INFRASTRUCTURE SERVICES DEPARTMENT | [10 empty] | 91 Adelaide Street BLAYNEY NSW 2799
Blayney Sewage Treatment Works - Licence Point Sampling
|  | License Point No. |  |  |  | 2
|  | Period |  |  |  | 2019-2020
|  | Sampling Frequency |  |  |  | Yearly
Published Date
Date Sample Taken | Date Reported | Biological Oxygen Demand (mg/L) |  | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L) |  | UVT % @ 254nm | UVT % @ 270nm |  | Catch Pond
|  | Approved Concentration Limit | [16 empty] | Date Sample Taken | Date Reported | Biochemical Oxygen Demand (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Ammonia - N (mg/L) |  | UVT % @ 254nm | UVT % @ 270nm
|  | No limit or range defined in licence | [18 empty] | Catch Pond Summary
2019-07-09 | 2019-07-22 | < | 5 |  | 4 | 7.76 |  | 2 | < | 5 |  | 8.6 | 0.21 | 0.2 |  | 3.4 |  |  | 2019-08-14 | 2019-08-28 | 5 |  | 7 | 7.24 |  | 6700 | < | 5 |  | 9.6 | 0.19 |  | 0.7
2019-08-14 | 2019-08-27 | < | 5 |  | 12 | 9.75 |  | 1 | < | 5 |  | 7.8 | 0.17 | 0.2 |  | 0.7 |  |  | 2019-09-19 | 2019-10-01 | 5 |  | 6 | 7.28 |  | 1300 | < | 5 |  | 7.7 | 0.15 |  | 1
2019-09-19 | 2019-10-01 |  | 9 |  | 12 | 8.7 |  | 5 | < | 5 |  | 3.5 | 0.3 | 0.55 | < | 0.5 |  |  | 2019-10-17 | 2019-10-30 | 5 |  | 5 | 7.2 |  | 1400 | < | 5 |  | 9.5 | 0.24 |  | 2.1 | 64 | 68
2019-10-17 | 2019-10-30 |  | 5 |  | 5 | 8.85 |  | 510 | < | 5 |  | 6.5 | 0.25 | 0.32 | < | 0.5 |  |  | 2020-03-11 | 2020-03-24 | 5 |  | 4 | 7.4 |  | 2800 | < | 5 |  | 8.7 | 0.56 |  | 1.3 | 69 | 73
2019-12-11 | 2019-12-23 | < | 5 |  | 6 | 8.05 |  | 28 | < | 5 |  | 4.4 | 0.86 | 0.26 | < | 0.5 |  |  | 2020-04-15 | 2020-04-29 | 5 |  | 4 | 7.24 |  | 1100 | < | 5 |  | 6.6 | 0.44 |  | 1.4 | 70 | 74
2020-01-07 | 2020-01-21 | < | 5 |  | 12 | 8.72 |  | 160 | < | 5 |  | 3.7 | 0.26 | 0.22 | < | 0.5
2020-02-12 | 2020-02-25 | < | 5 |  | 1 | 7.84 |  | 120 | < | 5 |  | 6.9 | 0.37 | 0.3 | < | 0.5
2020-03-11 | 2020-03-24 | < | 5 |  | 9 | 7.74 |  | 75 | < | 5 |  | 7.3 | 0.63 | 0.56 | < | 0.5 | 65 | 69
No of Samples Collected |  | 8 |  | 8 | 8 | 8 | 8 |  | 8 |  | 8 |  | 8 | 8 | 8 |  | 1 | 1 | No of Samples Collected |  | 5 | 5 | 5 | 5 | 5 |  | 5 |  | 5 |  | 5 | 5 |  | 3 | 3
Lowest Sample Value |  | < | 5 |  | 1 | 7.74 | 1 |  | < | 5 | < | 3.5 | 0.17 | 0.2 | < | 0.5 | 65 | 69 | Lowest Sample Value |  | 5 |  | 4 | 7.2 | 1100 |  |  | 5 |  | 6.6 | 0.15 |  | 0.7 | 64 | 68
Mean of Samples |  | 5.5 | 4.8889 | 7.625 |  | 8.4262 | 112.625 |  | 5 | 4.4444 | 6.0875 |  | 0.38125 | 0.32625 | 0.8875 |  | 65 | 69 | Mean of Samples |  | 5 | 5.2 |  | 7.272 | 2660 |  | 5 | 2.7778 | 8.42 |  | 0.316 | 1.3 |  | 67.6667 | 71.6667
Highest Sample Value |  | 9 |  | 12 |  | 9.75 | 510 |  | 5 |  | 8.6 |  | 0.86 | 0.56 | 3.4 |  | 65 | 69 | Highest Sample Value |  | 5 | 7 |  | 7.4 | 6700 |  | 5 |  | 9.6 |  | 0.56 | 2.1 |  | 70 | 74

## 2020-2021
|  |  | INFRASTRUCTURE SERVICES DEPARTMENT | [10 empty] | 91 Adelaide Street BLAYNEY NSW 2799 | [7 empty] | INFRASTRUCTURE SERVICES DEPARTMENT | [9 empty] | 91 Adelaide Street BLAYNEY NSW 2799
|  |  | Blayney Sewage Treatment Works - Licence Point Sampling | [18 empty] | Blayney Sewage Treatment Works - Licence Point Sampling
|  |  | License Point No. |  |  |  | 1 | [14 empty] | License Point No. |  |  | 3
|  |  | Period |  |  |  | 2020 - 2021 | [14 empty] | Period |  |  | 2020 - 2021
|  |  | Sampling Frequency |  |  |  | Monthly - when discharge occurs | [14 empty] | Sampling Frequency |  |  | Monthly
|  |  | Published Date | [18 empty] | Published Date
| Date Sample Taken | Date Reported | Biochemical Oxygen Demand (mg/L) |  | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L) |  | UVT % @ 254nm | UVT % @ 270nm | Date Sample Taken | Date Reported | Biochemical Oxygen Demand (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L)
|  |  | Point 1 License Conditions 100%ile | [18 empty] | Approved Concentration Limit
|  |  | 30 |  | 30 |  | 6.5-8.5 | 600 |  | 10 |  | 15 |  | 1 | N/A | 2 | [5 empty] | No limit or range defined in licence
| 2020-04-15 | 2020-04-29 | < | 5 |  | 1 | 7.26 |  | 370 | < | 5 |  | 2.7 | 0.66 | 0.54 | < | 0.5 | 64 | 68
| 2020-05-11 | 2020-05-25 | < | 5 |  | 1 | 7.14 |  | 120 | < | 5 |  | 4 | 0.24 | 0.31 | < | 0.5 | 67 | 72
| 2020-06-03 | 2020-06-18 | < | 5 | < | 1 | 6.85 |  | 90 | < | 5 |  | 5.4 | 0.05 | 0.29 | < | 0.5 | 71 | 75
| 2020-07-14 | 2020-07-30 | < | 5 | < | 1 | 6.97 |  | 77 | < | 5 |  | 4.6 | 0.09 | 0.34 | < | 0.5 | 71 | 75
| 2020-08-11 | 2020-08-24 | < | 5 | < | 1 | 7.86 |  | 110 | < | 5 |  | 8.8 | 0.24 | 0.32 | < | 0.5 | 67 | 72
| 2020-09-09 | 2020-09-24 | < | 5 |  | 1 | 7.18 |  | 7 | < | 5 |  | 6.9 | 0.17 | 0.2 | < | 0.5 | 65 | 69
| 2020-10-14 | 2020-10-27 | < | 5 |  | 2 | 7.28 |  | 10 | < | 5 |  | 3.8 | 0.36 | 0.2 | < | 0.5 | 59 | 64
| 2020-11-12 | 2020-11-24 | < | 5 |  | 3 | 7.55 |  | 61 | < | 5 |  | 3 | 1.1 | 0.28 | < | 0.5 | 56 | 60
| 2020-12-09 | 2020-12-21 | < | 5 |  | 2 | 7.16 |  | 3 | < | 5 |  | 2.7 | 1.9 | 0.2 | < | 0.5 | 51 | 56
| 2021-01-13 | 2021-01-27 | < | 5 |  | 4 | 7.26 |  | 2 | < | 5 |  | 4.9 | 1.9 | 0.22 | < | 0.5 | 56 | 62
| 2021-02-17 | 2021-03-02 | < | 5 |  | 2 | 7.04 |  | 3 | < | 5 |  | 3.6 | 0.64 | 0.22 | < | 0.5 | 57 | 62
| 2021-03-17 | 2021-03-30 | < | 5 |  | 2 | 7.06 |  | 210 | < | 5 |  | 4.9 | 0.47 | 0.2 | < | 0.5 | 60 | 64
| No of Samples Collected |  | 12 |  | 12 | 12 | 12 | 12 |  | 12 |  | 12 |  | 12 | 12 | 12 |  |  |  | No of Samples Collected |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
| Lowest Sample Value |  | < | 5 |  | 1 | 6.85 | 2 |  | < | 5 | < | 2.7 | 0.05 | 0.2 | < | 0.5 |  |  | Lowest Sample Value |  | 0 |  | 0 | 0 | 0 |  | < | 0 | < | 0 | 0 | 0 | < | 0
| Mean of Samples |  | 5 | 6.6667 | 1.75 |  | 7.2175 | 88.5833 |  | 5 | 6.6667 | 4.6083 |  | 0.65167 | 0.27667 | 0.5 |  |  |  | Mean of Samples |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | 0 | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
| Highest Sample Value |  | 5 |  | 4 |  | 7.86 | 370 |  | 5 |  | 8.8 |  | 1.9 | 0.54 | 0.5 |  |  |  | Highest Sample Value |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
0
[22 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | INFRASTRUCTURE SERVICES DEPARTMENT | [10 empty] | 91 Adelaide Street BLAYNEY NSW 2799
Blayney Sewage Treatment Works - Licence Point Sampling
|  |  | License Point No. |  |  |  | 2
|  |  | Period |  |  |  | 2020 - 2021
|  |  | Sampling Frequency |  |  |  | Monthly
Published Date
Catch Pond
| Date Sample Taken | Date Reported | Biological Oxygen Demand (mg/L) |  | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L) |  | UVT % @ 254nm | UVT % @ 270nm | Date Sample Taken | Date Reported | Biochemical Oxygen Demand (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Ammonia - N (mg/L) |  | UVT % @ 254nm | UVT % @ 270nm
|  |  | Approved Concentration Limit | [18 empty] | Catch Pond Summary
|  |  | No limit or range defined in licence | [16 empty] | 2019-08-14 | 2019-08-28 | 5 |  | 7 | 7.24 |  | 6700 | < | 5 |  | 9.6 | 0.19 |  | 0.7
| 2020-04-15 | 2020-04-29 | < | 5 |  | 7 | 7.9 |  | 350 | < | 5 |  | 5.6 | 0.66 | 0.7 |  | 1 | 64 | 68 | 2019-09-19 | 2019-10-01 | 5 |  | 6 | 7.28 |  | 1300 | < | 5 |  | 7.7 | 0.15 |  | 1
| 2020-05-11 | 2020-05-25 | < | 5 |  | 11 | 7.73 |  | 17 | < | 5 |  | 10 | 0.26 | 0.52 |  | 1.3 | 68 | 73 | 2019-10-17 | 2019-10-30 | 5 |  | 5 | 7.2 |  | 1400 | < | 5 |  | 9.5 | 0.24 |  | 2.1 | 64 | 68
| 2020-06-03 | 2020-06-18 | < | 5 |  | 5 | 7.51 |  | 41 | < | 5 |  | 9.2 | 0.09 | 0.41 | < | 0.5 | 73 | 77 | 2020-03-11 | 2020-03-24 | 5 |  | 4 | 7.4 |  | 2800 | < | 5 |  | 8.7 | 0.56 |  | 1.3 | 69 | 73
| 2020-07-14 | 2020-07-30 | < | 5 |  | 2 | 7.82 |  | 10 | < | 5 |  | 8.1 | 0.15 | 0.29 |  | 0.7 | 72 | 76 | 2020-04-15 | 2020-04-29 | 5 |  | 4 | 7.24 |  | 1100 | < | 5 |  | 6.6 | 0.44 |  | 1.4 | 70 | 74
| 2020-08-11 | 2020-08-24 | < | 5 | < | 1 | 7.05 |  | 34 | < | 5 |  | 7.2 | 0.22 | 0.28 | < | 0.5 | 72 | 76 | 2020-05-11 | 2020-05-25 | 5 |  | 2 | 7.36 |  | 9600 | < | 5 |  | 13 | 0.23 |  | 1.8 | 70 | 74
| 2020-09-09 | 2020-09-24 | < | 5 | < | 1 | 8.42 |  | 2 | < | 5 |  | 7.1 | 0.14 | 0.22 | < | 0.5 | 74 | 78 | 2020-06-03 | 2020-06-18 | 5 |  | 3 | 7.21 |  | 8800 | < | 5 |  | 10 | 0.09 |  | 1.4 | 73 | 77
| 2020-10-14 | 2020-10-27 | < | 5 |  | 3 | 7.94 |  | 8 | < | 5 |  | 6.4 | 0.44 | 0.22 |  | 1.3 | 67 | 71 | 2020-07-14 | 2020-07-30 | 5 |  | 7 | 7.25 |  | 410 | < | 5 |  | 11 | 0.17 |  | 1 | 69 | 73
| 2020-11-12 | 2020-11-24 | < | 5 |  | 1 | 7.99 |  | 44 | < | 5 |  | 7.2 | 1.5 | 0.23 |  | 0.7 | 62 | 66 | 2020-10-14 | 2020-10-27 | 5 |  | 6 | 7.62 |  | 23000 | < | 5 |  | 9.1 | 1.2 |  | 1.8 | 66 | 66
| 2020-12-09 | 2020-12-21 | < | 5 |  | 10 | 8.04 |  | 19 | < | 5 |  | 4.2 | 1.9 | 0.45 | < | 0.5 | 61 | 66
| 2021-01-13 | 2021-01-27 | < | 5 |  | 6 | 8.98 |  | 12 | < | 5 |  | 4.6 | 4.6 | 0.36 | < | 0.5 | 64 | 69
| 2021-02-17 | 2021-03-02 | < | 5 |  | 6 | 9.02 |  | 6 | < | 5 |  | 4.4 | 0.59 | 0.26 | < | 0.5 | 66 | 71
| 2021-03-17 | 2021-03-30 | < | 5 |  | 4 | 7.98 |  | 25 | < | 5 |  | 4.8 | 0.4 | 0.28 | < | 0.5 | 66 | 74
| No of Samples Collected |  | 12 |  | 12 | 12 | 12 | 12 |  | 12 |  | 12 |  | 12 | 12 | 12 |  | 12 | 12 | No of Samples Collected |  | 9 | 9 | 9 | 9 | 9 |  | 9 |  | 9 |  | 9 | 9 |  | 7 | 7
| Lowest Sample Value |  | < | 5 |  | 1 | 7.05 | 2 |  | < | 5 | < | 4.2 | 0.09 | 0.22 | < | 0.5 | 61 | 66 | Lowest Sample Value |  | 5 |  | 2 | 7.2 | 410 |  |  | 5 |  | 6.6 | 0.09 |  | 0.7 | 64 | 66
| Mean of Samples |  | 5 | 6.6667 | 4.75 |  | 8.0317 | 47.3333 |  | 5 | 6.6667 | 6.5667 |  | 0.9125 | 0.35167 | 0.70833 |  | 67.4167 | 72.0833 | Mean of Samples |  | 5 | 4.8889 |  | 7.3111 | 6123.3333 |  | 5 | 5 | 9.4667 |  | 0.36333 | 1.3889 |  | 68.7143 | 72.1429
| Highest Sample Value |  | 5 |  | 11 |  | 9.02 | 350 |  | 5 |  | 10 |  | 4.6 | 0.7 | 1.3 |  | 74 | 78 | Highest Sample Value |  | 5 | 7 |  | 7.62 | 23000 |  | 5 |  | 13 |  | 1.2 | 2.1 |  | 73 | 77
Flow |  | 0
Actual Load |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0

## 2021-2022
|  |  | INFRASTRUCTURE SERVICES DEPARTMENT | [10 empty] | 91 Adelaide Street BLAYNEY NSW 2799 | [7 empty] | INFRASTRUCTURE SERVICES DEPARTMENT | [9 empty] | 91 Adelaide Street BLAYNEY NSW 2799
|  |  | Blayney Sewage Treatment Works - Licence Point Sampling | [18 empty] | Blayney Sewage Treatment Works - Licence Point Sampling
|  |  | License Point No. |  |  |  | 1 |  |  | Point 1 to be sampled if discharge to river occurs | [11 empty] | License Point No. |  |  | 3
|  |  | Period |  |  |  | 2021-2022 | [14 empty] | Period |  |  | 2021-2022
|  |  | Sampling Frequency |  |  |  | If discharge to creek occurs | [14 empty] | Sampling Frequency |  |  | Monthly
|  |  | Published Date | [18 empty] | Published Date
| Date Sample Taken | Date Reported | Biochemical Oxygen Demand (mg/L) |  | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L) |  | UVT % @ 254nm | UVT % @ 270nm | Date Sample Taken | Date Reported | Biochemical Oxygen Demand (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L)
|  |  | Point 1 License Conditions 100%ile | [18 empty] | Approved Concentration Limit
|  |  | 30 |  | 30 |  | 6.5-8.5 | 600 |  | 10 |  | 15 |  | 1 | N/A | 2 | [5 empty] | No limit or range defined in licence
| 2021-04-20 | 2021-05-04 | < | 5 |  | 1 | 7.07 |  | 7 | < | 5 |  | 3.4 | 0.14 | 1.7 | < | 0.5 | 68 | 72
| 2021-05-13 | 2021-05-14 | < | 5 |  | 1 | 6.97 |  | 62 | < | 5 |  | 3.2 | 0.28 | 0.2 | < | 0.5 | 64 | 69
| 2021-06-16 | 2021-07-01 | < | 5 |  | 1 | 6.88 |  | 6 | < | 5 |  | 2.2 | 0.54 | 0.2 | < | 0.5 | 67 | 72
| 2021-07-27 | 2021-08-06 | < | 5 |  | 1 | 7.12 |  | 4 | < | 5 |  | 3.1 | 0.14 | 0.2 |  | 2.3 | 71 | 75
| 2021-08-25 | 2021-09-10 | < | 5 |  | 21 | 7.16 |  | 1000 | < | 5 |  | 5.8 | 0.34 | 0.6 | < | 0.5 | 47 | 53
| 2021-09-16 | 2021-09-29 | < | 5 |  | 1 | 7.25 |  | 10 | < | 5 |  | 4.7 | 0.3 | 0.1 | < | 0.5 | 69 | 73
| 2021-12-08 | 2021-12-21 | < | 5 |  | 4 | 7.03 |  | 1900 | < | 5 |  | 4.6 | 0.23 | <0.20 | < | 0.5 | 47 | 53
| 2022-01-19 | 2022-02-07 | < | 5 |  | 2 | 6.66 |  | 410 | < | 5 |  | 4 | 0.12 | <0.20 | < | 0.5 | 56 | 61
| 2022-02-23 | 2022-03-09 | < | 5 |  | 4 | 7.09 |  | ~98 | < | 5 |  | 3.2 | 0.08 | <0.20 | < | 0.5 | 61 | 67
| 2022-03-09 | 2022-03-23 | < | 5 |  | 5 | 6.92 |  | 570 | < | 5 |  | 2.8 | 0.13 | <0.20 | < | 0.5 | 52 | 57
| 2022-04-20 | 2022-05-06 | < | 5 |  | 2 | 7.05 |  | 510 | < | 5 |  | 4.9 | 0.1 | <0.20 |  | 1.5 | 63 | 68
| 2022-05-26 | 2022-06-24 | < | 5 |  | 2 | 6.92 |  | 26 | < | 5 |  | 5.9 | 2.6 | <0.20 | < | 0.5 | 67 | 71
| No of Samples Collected |  | 12 |  | 12 | 12 | 12 | 11 |  | 12 |  | 12 |  | 12 | 6 | 12 |  |  |  | No of Samples Collected |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
| Lowest Sample Value |  | < | 5 |  | 1 | 6.66 | 4 |  | < | 5 | < | 2.2 | 0.08 | 0.1 | < | 0.5 |  |  | Lowest Sample Value |  | 0 |  | 0 | 0 | 0 |  | < | 0 | < | 0 | 0 | 0 | < | 0
| Mean of Samples |  | 5 | 6.6667 | 3.75 |  | 7.01 | 409.5455 |  | 5 | 6.6667 | 3.9833 |  | 0.41667 | 0.5 | 0.73333 |  |  |  | Mean of Samples |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | 0 | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
| Highest Sample Value |  | 5 |  | 21 |  | 7.25 | 1900 |  | 5 |  | 5.9 |  | 2.6 | 1.7 | 2.3 |  |  |  | Highest Sample Value |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
0
[22 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | INFRASTRUCTURE SERVICES DEPARTMENT | [10 empty] | 91 Adelaide Street BLAYNEY NSW 2799 | [8 empty] | INFRASTRUCTURE SERVICES DEPARTMENT | [10 empty] | 91 Adelaide Street BLAYNEY NSW 2799
|  |  | Blayney Sewage Treatment Works - Licence Point Sampling | [19 empty] | Blayney Sewage Treatment Works - Licence Point Sampling
|  |  | License Point No. |  |  |  | 2
|  |  | Period |  |  |  | 2021-2022 | [16 empty] | Inlet Works
|  |  | Sampling Frequency |  |  |  | Monthly
Published Date
| Date Sample Taken | Date Reported | Biological Oxygen Demand (mg/L) |  | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L) |  | UVT % @ 254nm | UVT % @ 270nm |  | Date Sample Taken | Date Reported | Biological Oxygen Demand (mg/L) |  | Total Suspended Solids (mg/L) |  | pH | Total Phosphorous (mg/L)
Approved Concentration Limit
No limit or range defined in licence
| 2021-04-20 | 2021-05-04 | < | 5 |  | 4 | 9.14 |  | 4 | < | 5 |  | 3.6 | 0.16 | 0.29 | < | 0.5 | 66 | 71 |  | 2021-04-20 | 2021-05-04 |  | 231 |  | 423 | 7.64 |  | 4.6
| 2021-05-13 | 2021-05-14 | < | 5 |  | 3 | 7.74 |  | 7 | < | 5 |  | 7.6 | 0.31 | 0.25 |  | 3 | 65 | 70
| 2021-06-16 | 2021-07-01 | < | 5 |  | 3 | 7.58 | < | 1 | < | 5 |  | 5.4 | 0.66 | 0.2 |  | 2 | 68 | 73
| 2021-07-27 | 2021-08-06 | < | 5 |  | 3 | 7.44 |  | 120 | < | 5 |  | 8.9 | 0.14 | 0.24 |  | 2.6 | 70 | 74
| 2021-08-25 | 2021-09-10 | < | 5 |  | 3 | 7.44 |  | 1300 | < | 5 |  | 8.2 | 0.36 | 0.1 |  | 3.2 | 71 | 75
| 2021-09-16 | 2021-09-29 | < | 5 |  | 1 | 9.08 |  | 1 | < | 5 |  | 5.7 | 0.35 | 0.1 | < | 0.5 | 71 | 75
| 2021-12-08 | 2021-12-21 | < | 5 |  | 2 | 8.74 |  | 20 | < | 5 |  | 4.4 | 0.26 | 0.24 | < | 0.5 | 65 | 70
| 2022-01-19 | 2022-02-07 | < | 5 |  | 1 | 7.24 | ~ | 9 | < | 5 |  | 3.3 | 0.13 | <0.20 | < | 0.5 | 64 | 69
| 2022-02-23 | 2022-03-09 | < | 5 |  | 3 | 8.54 | ~ | 7 | < | 5 |  | 2.6 | 0.08 | <.20 | < | 0.5 | 64 | 70
| 2022-03-09 | 2022-03-23 | < | 5 |  | 1 | 8.54 |  | 33 | < | 5 |  | 2.6 | 0.1 | <0.20 | < | 0.5 | 62 | 68
| 2022-04-20 | 2022-05-06 |  | 6 |  | 10 | 7.64 |  | 700 | < | 5 |  | 3.4 | 0.5 | <0.20 | < | 0.5 | 62 | 66
| 2022-05-26 | 2022-06-24 | < | 5 |  | 3 | 6.85 | < | 1 | < | 5 |  | 7.2 | 3.5 | 0.21 | < | 0.5 | 69 | 73
| No of Samples Collected |  | 12 |  | 12 | 12 | 12 | 12 |  | 12 |  | 12 |  | 12 | 8 | 12 |  | 12 | 12
| Lowest Sample Value |  | < | 5 |  | 1 | 6.85 | 1 |  | < | 5 | < | 2.6 | 0.08 | 0.1 | < | 0.5 | 62 | 66
| Mean of Samples |  | 5.0833 | 6.7778 | 3.0833 |  | 7.9975 | 183.5833 |  | 5 | 6.6667 | 5.2417 |  | 0.54583 | 0.20375 | 1.2333 |  | 66.4167 | 71.1667
| Highest Sample Value |  | 6 |  | 10 |  | 9.14 | 1300 |  | 5 |  | 8.9 |  | 3.5 | 0.29 | 3.2 |  | 71 | 75
Flow |  | 0
Actual Load |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0

## Sheet2
Date | Cummulative |  | Daily/Weekly m^3 (kL)
31/3/010 | 165381 | 1653810
2010-04-01 | 165381 | 1653810 | 1653810 |  | 165381 | 1653810 | 1 | 10
2010-04-02 | 165381 | 1653810 | 0 |  | 165781 | 4000 | 7 | 10
2010-04-03 | 165381 | 1653810 | 0 |  | 165901 | 1200 | 8 | 200
2010-04-04 | 165381 | 1653810 | 0 |  | 166210 | 3090 | 15 | 260
2010-04-05 | 165381 | 1653810 | 0 |  | 166384 | 1740 | 16 | 350
2010-04-06 | 165381 | 1653810 | 0 |  | 166642 | 2580 | 21 | 520
2010-04-07 | 165781 | 1657810 | 4000 |  | 166677 | 350 | 22 | 570
2010-04-08 | 165901 | 1659010 | 1200 |  | 166745 | 680 | 23 | 580
2010-04-09 | 165901 | 1659010 | 0 |  | 167137 | 3920 | 28 | 590
2010-04-10 | 165901 | 1659010 | 0 |  | 167210 | 730 | 29 | 590
2010-04-11 | 165901 | 1659010 | 0 |  | 167269 | 590 | 30 | 620
2010-04-12 | 165901 | 1659010 | 0 |  | 167508 | 2390 | 34 | 620
2010-04-13 | 165901 | 1659010 | 0 |  | 167890 | 3820 | 40 | 670
2010-04-14 | 165901 | 1659010 | 0 |  | 168404 | 5140 | 49 | 680
2010-04-15 | 166210 | 1662100 | 3090 |  | 168466 | 620 | 50 | 730
2010-04-16 | 166384 | 1663840 | 1740 |  | 168800 | 3340 | 55 | 760
2010-04-17 | 166384 | 1663840 | 0 |  | 168852 | 520 | 56 | 760
2010-04-18 | 166384 | 1663840 | 0 |  | 168985 | 1330 | 58 | 800
2010-04-19 | 166384 | 1663840 | 0 |  | 169414 | 4290 | 63 | 830
2010-04-20 | 166384 | 1663840 | 0 |  | 169473 | 590 | 64 | 900
2010-04-21 | 166642 | 1666420 | 2580 |  | 169531 | 580 | 65 | 1020
2010-04-22 | 166677 | 1666770 | 350 |  | 169819 | 2880 | 70 | 1080
2010-04-23 | 166745 | 1667450 | 680 |  | 169899 | 800 | 76 | 1090
2010-04-24 | 166745 | 1667450 | 0 |  | 169956 | 570 | 77 | 1100
2010-04-25 | 166745 | 1667450 | 0 |  | 170032 | 760 | 78 | 1160
2010-04-26 | 166745 | 1667450 | 0 |  | 170099 | 670 | 79 | 1200
2010-04-27 | 166745 | 1667450 | 0 |  | 170529 | 4300 | 83 | 1200
2010-04-28 | 167137 | 1671370 | 3920 |  | 170701 | 1720 | 86 | 1300
2010-04-29 | 167210 | 1672100 | 730 |  | 170940 | 2390 | 89 | 1310
2010-04-30 | 167269 | 1672690 | 590 |  | 171124 | 1840 | 99 | 1320
2010-05-01 | 167269 | 1672690 | 0 |  | 171308 | 1840 | 100 | 1330
2010-05-02 | 167269 | 1672690 | 0 |  | 171468 | 1600 | 105 | 1600
2010-05-03 | 167269 | 1672690 | 0 |  | 171530 | 620 | 106 | 1610
2010-05-04 | 167508 | 1675080 | 2390 |  | 172129 | 5990 | 111 | 1650
2010-05-05 | 167508 | 1675080 | 0 |  | 172219 | 900 | 112 | 1690
2010-05-06 | 167508 | 1675080 | 0 |  | 172350 | 1310 | 114 | 1720
2010-05-07 | 167508 | 1675080 | 0 |  | 172515 | 1650 | 117 | 1740
2010-05-08 | 167508 | 1675080 | 0 |  | 172776 | 2610 | 119 | 1840
2010-05-09 | 167508 | 1675080 | 0 |  | 173078 | 3020 | 128 | 1840
2010-05-10 | 167890 | 1678900 | 3820 |  | 174155 | 10770 | 142 | 1900
2010-05-11 | 167890 | 1678900 | 0 |  | 174774 | 6190 | 146 | 2040
2010-05-12 | 167890 | 1678900 | 0 |  | 175250 | 4760 | 149 | 2040
2010-05-13 | 167890 | 1678900 | 0 |  | 176057 | 8070 | 153 | 2200
2010-05-14 | 167890 | 1678900 | 0 |  | 176340 | 2830 | 155 | 2210
2010-05-15 | 167890 | 1678900 | 0 |  | 176416 | 760 | 156 | 2210
2010-05-16 | 167890 | 1678900 | 0 |  | 177646 | 12300 | 163 | 2210
2010-05-17 | 167890 | 1678900 | 0 |  | 178498 | 8520 | 168 | 2210
2010-05-18 | 167890 | 1678900 | 0 |  | 178728 | 2300 | 169 | 2220
2010-05-19 | 168404 | 1684040 | 5140 |  | 178858 | 1300 | 170 | 2300
2010-05-20 | 168466 | 1684660 | 620 |  | 179134 | 2760 | 173 | 2390
2010-05-21 | 168466 | 1684660 | 0 |  | 179354 | 2200 | 184 | 2390
2010-05-22 | 168466 | 1684660 | 0 |  | 179463 | 1090 | 188 | 2500
2010-05-23 | 168466 | 1684660 | 0 |  | 179713 | 2500 | 189 | 2570
2010-05-24 | 168466 | 1684660 | 0 |  | 179821 | 1080 | 196 | 2580
2010-05-25 | 168800 | 1688000 | 3340 |  | 179847 | 260 | 197 | 2610
2010-05-26 | 168852 | 1688520 | 520 |  | 180139 | 2920 | 198 | 2760
2010-05-27 | 168852 | 1688520 | 0 |  | 180360 | 2210 | 210 | 2780
2010-05-28 | 168985 | 1689850 | 1330 |  | 180492 | 1320 | 211 | 2830
2010-05-29 | 168985 | 1689850 | 0 |  | 180858 | 3660 | 219 | 2880
2010-05-30 | 168985 | 1689850 | 0 |  | 181078 | 2210 | 224 | 2910
2010-05-31 | 168985 | 1689850 | 0 |  | 181198 | 1200 | 225 | 2920
2010-06-01 | 168985 | 1689850 | 0 |  | 181954 | 7560 | 258 | 3020
2010-06-02 | 169414 | 1694140 | 4290 |  | 182175 | 2210 | 259 | 3090
2010-06-03 | 169473 | 1694730 | 590 |  | 182745 | 5700 | 264 | 3220
2010-06-04 | 169531 | 1695310 | 580 |  | 182765 | 200 | 267 | 3340
2010-06-05 | 169531 | 1695310 | 0 |  | 183170 | 4050 | 280 | 3400
2010-06-06 | 169531 | 1695310 | 0 |  | 183640 | 4700 | 281 | 3660
2010-06-07 | 169531 | 1695310 | 0 |  | 184184 | 5440 | 293 | 3820
2010-06-08 | 169531 | 1695310 | 0 |  | 184462 | 2780 | 295 | 3850
2010-06-09 | 169819 | 1698190 | 2880 |  | 184572 | 1100 | 300 | 3920
2010-06-10 | 169819 | 1698190 | 0 |  | 184863 | 2910 | 303 | 4000
2010-06-11 | 169819 | 1698190 | 0 |  | 185053 | 1900 | 309 | 4050
2010-06-12 | 169819 | 1698190 | 0 |  | 185274 | 2210 | 313 | 4290
2010-06-13 | 169819 | 1698190 | 0 |  | 185275 | 10 | 316 | 4300
2010-06-14 | 169819 | 1698190 | 0 |  | 185706 | 4310 | 321 | 4310
2010-06-15 | 169899 | 1698990 | 800 |  | 186028 | 3220 | 327 | 4700
2010-06-16 | 169956 | 1699560 | 570 |  | 186189 | 1610 | 328 | 4760
2010-06-17 | 170032 | 1700320 | 760 |  | 186574 | 3850 | 335 | 5140
2010-06-18 | 170099 | 1700990 | 670 |  | 186831 | 2570 | 341 | 5440
2010-06-19 | 170099 | 1700990 | 0 |  | 187000 | 1690 | 342 | 5700
2010-06-20 | 170099 | 1700990 | 0 |  | 187222 | 2220 | 351 | 5990
2010-06-21 | 170099 | 1700990 | 0 |  | 187324 | 1020 | 352 | 6190
2010-06-22 | 170529 | 1705290 | 4300 |  | 187325 | 10 | 355 | 7560
2010-06-23 | 170529 | 1705290 | 0 |  | 187529 | 2040 | 356 | 8070
2010-06-24 | 170529 | 1705290 | 0 |  | 187612 | 830 | 358 | 8520
2010-06-25 | 170701 | 1707010 | 1720 |  | 187728 | 1160 | 359 | 10770
2010-06-26 | 170701 | 1707010 | 0 |  | 188068 | 3400 | 364 | 12300
2010-06-27 | 170701 | 1707010 | 0 |  | 188272 | 2040 | 365
2010-06-28 | 170940 | 1709400 | 2390
2010-06-29 | 170940 | 1709400 | 0
2010-06-30 | 170940 | 1709400 | 0
2010-07-01 | 170940 | 1709400 | 0 |  | Reading Days = 87
2010-07-02 | 170940 | 1709400 | 0 |  | Min Reading = 10
2010-07-03 | 170940 | 1709400 | 0 |  | Max Reading = 12,300
2010-07-04 | 170940 | 1709400 | 0 |  | Med Reading = 2,210
2010-07-05 | 170940 | 1709400 | 0 |  | Av Reading (/read days) = 2,631.3
2010-07-06 | 170940 | 1709400 | 0
2010-07-07 | 170940 | 1709400 | 0
2010-07-08 | 171124 | 1711240 | 1840
2010-07-09 | 171308 | 1713080 | 1840
2010-07-10 | 171308 | 1713080 | 0
2010-07-11 | 171308 | 1713080 | 0
2010-07-12 | 171308 | 1713080 | 0
2010-07-13 | 171308 | 1713080 | 0
2010-07-14 | 171468 | 1714680 | 1600
2010-07-15 | 171530 | 1715300 | 620
2010-07-16 | 171530 | 1715300 | 0
2010-07-17 | 171530 | 1715300 | 0
2010-07-18 | 171530 | 1715300 | 0
2010-07-19 | 171530 | 1715300 | 0
2010-07-20 | 172129 | 1721290 | 5990
2010-07-21 | 172219 | 1722190 | 900
2010-07-22 | 172219 | 1722190 | 0
2010-07-23 | 172350 | 1723500 | 1310
2010-07-24 | 172350 | 1723500 | 0
2010-07-25 | 172350 | 1723500 | 0
2010-07-26 | 172515 | 1725150 | 1650
2010-07-27 | 172515 | 1725150 | 0
2010-07-28 | 172776 | 1727760 | 2610
2010-07-29 | 172776 | 1727760 | 0
2010-07-30 | 172776 | 1727760 | 0
2010-07-31 | 172776 | 1727760 | 0
2010-08-01 | 172776 | 1727760 | 0
2010-08-02 | 172776 | 1727760 | 0
2010-08-03 | 172776 | 1727760 | 0
2010-08-04 | 172776 | 1727760 | 0
2010-08-05 | 172776 | 1727760 | 0
2010-08-06 | 173078 | 1730780 | 3020 | Was entered as 13078
2010-08-07 | 173078 | 1730780 | 0
2010-08-08 | 173078 | 1730780 | 0
2010-08-09 | 173078 | 1730780 | 0
2010-08-10 | 173078 | 1730780 | 0
2010-08-11 | 173078 | 1730780 | 0
2010-08-12 | 173078 | 1730780 | 0
2010-08-13 | 173078 | 1730780 | 0
2010-08-14 | 173078 | 1730780 | 0
2010-08-15 | 173078 | 1730780 | 0
2010-08-16 | 173078 | 1730780 | 0
2010-08-17 | 173078 | 1730780 | 0
2010-08-18 | 173078 | 1730780 | 0
2010-08-19 | 173078 | 1730780 | 0
2010-08-20 | 174155 | 1741550 | 10770
2010-08-21 | 174155 | 1741550 | 0
2010-08-22 | 174155 | 1741550 | 0
2010-08-23 | 174155 | 1741550 | 0
2010-08-24 | 174774 | 1747740 | 6190
2010-08-25 | 174774 | 1747740 | 0
2010-08-26 | 174774 | 1747740 | 0
2010-08-27 | 175250 | 1752500 | 4760
2010-08-28 | 175250 | 1752500 | 0
2010-08-29 | 175250 | 1752500 | 0
2010-08-30 | 175250 | 1752500 | 0
2010-08-31 | 176057 | 1760570 | 8070
2010-09-01 | 176057 | 1760570 | 0
2010-09-02 | 176340 | 1763400 | 2830
2010-09-03 | 176416 | 1764160 | 760
2010-09-04 | 176416 | 1764160 | 0
2010-09-05 | 176416 | 1764160 | 0
2010-09-06 | 176416 | 1764160 | 0
2010-09-07 | 176416 | 1764160 | 0
2010-09-08 | 176416 | 1764160 | 0
2010-09-09 | 176416 | 1764160 | 0
2010-09-10 | 177646 | 1776460 | 12300
2010-09-11 | 177646 | 1776460 | 0
2010-09-12 | 177646 | 1776460 | 0
2010-09-13 | 177646 | 1776460 | 0
2010-09-14 | 177646 | 1776460 | 0
2010-09-15 | 178498 | 1784980 | 8520
2010-09-16 | 178728 | 1787280 | 2300
2010-09-17 | 178858 | 1788580 | 1300
2010-09-18 | 178858 | 1788580 | 0
2010-09-19 | 178858 | 1788580 | 0
2010-09-20 | 179134 | 1791340 | 2760
2010-09-21 | 179134 | 1791340 | 0
2010-09-22 | 179134 | 1791340 | 0
2010-09-23 | 179134 | 1791340 | 0
2010-09-24 | 179134 | 1791340 | 0
2010-09-25 | 179134 | 1791340 | 0
2010-09-26 | 179134 | 1791340 | 0
2010-09-27 | 179134 | 1791340 | 0
2010-09-28 | 179134 | 1791340 | 0
2010-09-29 | 179134 | 1791340 | 0
2010-09-30 | 179134 | 1791340 | 0
2010-10-01 | 179354 | 1793540 | 2200
2010-10-02 | 179354 | 1793540 | 0
2010-10-03 | 179354 | 1793540 | 0
2010-10-04 | 179354 | 1793540 | 0
2010-10-05 | 179463 | 1794630 | 1090
2010-10-06 | 179713 | 1797130 | 2500
2010-10-07 | 179713 | 1797130 | 0
2010-10-08 | 179713 | 1797130 | 0
2010-10-09 | 179713 | 1797130 | 0
2010-10-10 | 179713 | 1797130 | 0
2010-10-11 | 179713 | 1797130 | 0
2010-10-12 | 179713 | 1797130 | 0
2010-10-13 | 179821 | 1798210 | 1080
2010-10-14 | 179847 | 1798470 | 260
2010-10-15 | 180139 | 1801390 | 2920
2010-10-16 | 180139 | 1801390 | 0
2010-10-17 | 180139 | 1801390 | 0
2010-10-18 | 180139 | 1801390 | 0
2010-10-19 | 180139 | 1801390 | 0
2010-10-20 | 180139 | 1801390 | 0
2010-10-21 | 180139 | 1801390 | 0
2010-10-22 | 180139 | 1801390 | 0
2010-10-23 | 180139 | 1801390 | 0
2010-10-24 | 180139 | 1801390 | 0
2010-10-25 | 180139 | 1801390 | 0
2010-10-26 | 180139 | 1801390 | 0
2010-10-27 | 180360 | 1803600 | 2210
2010-10-28 | 180492 | 1804920 | 1320
2010-10-29 | 180492 | 1804920 | 0
2010-10-30 | 180492 | 1804920 | 0
2010-10-31 | 180492 | 1804920 | 0
2010-11-01 | 180492 | 1804920 | 0
2010-11-02 | 180492 | 1804920 | 0
2010-11-03 | 180492 | 1804920 | 0
2010-11-04 | 180492 | 1804920 | 0
2010-11-05 | 180858 | 1808580 | 3660
2010-11-06 | 180858 | 1808580 | 0
2010-11-07 | 180858 | 1808580 | 0
2010-11-08 | 180858 | 1808580 | 0
2010-11-09 | 180857 | 1808570 | -10
2010-11-10 | 181078 | 1810780 | 2210
2010-11-11 | 181198 | 1811980 | 1200
2010-11-12 | 181198 | 1811980 | 0
2010-11-13 | 181198 | 1811980 | 0
2010-11-14 | 181198 | 1811980 | 0
2010-11-15 | 181198 | 1811980 | 0
2010-11-16 | 181198 | 1811980 | 0
2010-11-17 | 181198 | 1811980 | 0
2010-11-18 | 181198 | 1811980 | 0
2010-11-19 | 181198 | 1811980 | 0
2010-11-20 | 181198 | 1811980 | 0
2010-11-21 | 181198 | 1811980 | 0
2010-11-22 | 181198 | 1811980 | 0
2010-11-23 | 181198 | 1811980 | 0
2010-11-24 | 181198 | 1811980 | 0
2010-11-25 | 181198 | 1811980 | 0
2010-11-26 | 181198 | 1811980 | 0
2010-11-27 | 181198 | 1811980 | 0
2010-11-28 | 181198 | 1811980 | 0
2010-11-29 | 181198 | 1811980 | 0
2010-11-30 | 181198 | 1811980 | 0
2010-12-01 | 181198 | 1811980 | 0
2010-12-02 | 181198 | 1811980 | 0
2010-12-03 | 181198 | 1811980 | 0
2010-12-04 | 181198 | 1811980 | 0
2010-12-05 | 181198 | 1811980 | 0
2010-12-06 | 181198 | 1811980 | 0
2010-12-07 | 181198 | 1811980 | 0
2010-12-08 | 181198 | 1811980 | 0
2010-12-09 | 181198 | 1811980 | 0
2010-12-10 | 181198 | 1811980 | 0
2010-12-11 | 181198 | 1811980 | 0
2010-12-12 | 181198 | 1811980 | 0
2010-12-13 | 181198 | 1811980 | 0
2010-12-14 | 181954 | 1819540 | 7560
2010-12-15 | 182175 | 1821750 | 2210
2010-12-16 | 182175 | 1821750 | 0
2010-12-17 | 182175 | 1821750 | 0
2010-12-18 | 182175 | 1821750 | 0
2010-12-19 | 182175 | 1821750 | 0
2010-12-20 | 182745 | 1827450 | 5700
2010-12-21 | 182745 | 1827450 | 0
2010-12-22 | 182745 | 1827450 | 0
2010-12-23 | 182765 | 1827650 | 200
2010-12-24 | 182765 | 1827650 | 0
2010-12-25 | 182765 | 1827650 | 0
2010-12-26 | 182765 | 1827650 | 0
2010-12-27 | 182765 | 1827650 | 0
2010-12-28 | 182765 | 1827650 | 0
2010-12-29 | 182765 | 1827650 | 0
2010-12-30 | 182765 | 1827650 | 0
2010-12-31 | 182765 | 1827650 | 0
2011-01-01 | 182765 | 1827650 | 0
2011-01-02 | 182765 | 1827650 | 0
2011-01-03 | 182765 | 1827650 | 0
2011-01-04 | 182765 | 1827650 | 0
2011-01-05 | 183170 | 1831700 | 4050
2011-01-06 | 183640 | 1836400 | 4700
2011-01-07 | 183640 | 1836400 | 0
2011-01-08 | 183640 | 1836400 | 0
2011-01-09 | 183640 | 1836400 | 0
2011-01-10 | 183640 | 1836400 | 0
2011-01-11 | 183640 | 1836400 | 0
2011-01-12 | 183640 | 1836400 | 0
2011-01-13 | 183640 | 1836400 | 0
2011-01-14 | 183640 | 1836400 | 0
2011-01-15 | 183640 | 1836400 | 0
2011-01-16 | 183640 | 1836400 | 0
2011-01-17 | 183640 | 1836400 | 0
2011-01-18 | 184184 | 1841840 | 5440
2011-01-19 | 184184 | 1841840 | 0
2011-01-20 | 184462 | 1844620 | 2780
2011-01-21 | 184462 | 1844620 | 0
2011-01-22 | 184462 | 1844620 | 0
2011-01-23 | 184462 | 1844620 | 0
2011-01-24 | 184462 | 1844620 | 0
2011-01-25 | 184572 | 1845720 | 1100
2011-01-26 | 184572 | 1845720 | 0
2011-01-27 | 184572 | 1845720 | 0
2011-01-28 | 184863 | 1848630 | 2910
2011-01-29 | 184863 | 1848630 | 0
2011-01-30 | 184863 | 1848630 | 0
2011-01-31 | 184863 | 1848630 | 0
2011-02-01 | 184863 | 1848630 | 0
2011-02-02 | 184863 | 1848630 | 0
2011-02-03 | 185053 | 1850530 | 1900
2011-02-04 | 185053 | 1850530 | 0
2011-02-05 | 185053 | 1850530 | 0
2011-02-06 | 185053 | 1850530 | 0
2011-02-07 | 185274 | 1852740 | 2210
2011-02-08 | 185274 | 1852740 | 0
2011-02-09 | 185274 | 1852740 | 0
2011-02-10 | 185275 | 1852750 | 10
2011-02-11 | 185275 | 1852750 | 0
2011-02-12 | 185275 | 1852750 | 0
2011-02-13 | 185275 | 1852750 | 0
2011-02-14 | 185275 | 1852750 | 0
2011-02-15 | 185706 | 1857060 | 4310
2011-02-16 | 185706 | 1857060 | 0
2011-02-17 | 185706 | 1857060 | 0
2011-02-18 | 185706 | 1857060 | 0
2011-02-19 | 185706 | 1857060 | 0
2011-02-20 | 185706 | 1857060 | 0
2011-02-21 | 186028 | 1860280 | 3220
2011-02-22 | 186189 | 1861890 | 1610
2011-02-23 | 186189 | 1861890 | 0
2011-02-24 | 186189 | 1861890 | 0
2011-02-25 | 186189 | 1861890 | 0
2011-02-26 | 186189 | 1861890 | 0
2011-02-27 | 186189 | 1861890 | 0
2011-02-28 | 186189 | 1861890 | 0
2011-03-01 | 186574 | 1865740 | 3850
2011-03-02 | 186574 | 1865740 | 0
2011-03-03 | 186574 | 1865740 | 0
2011-03-04 | 186574 | 1865740 | 0
2011-03-05 | 186574 | 1865740 | 0
2011-03-06 | 186574 | 1865740 | 0
2011-03-07 | 186831 | 1868310 | 2570
2011-03-08 | 187000 | 1870000 | 1690
2011-03-09 | 187000 | 1870000 | 0
2011-03-10 | 187000 | 1870000 | 0
2011-03-11 | 187000 | 1870000 | 0
2011-03-12 | 187000 | 1870000 | 0
2011-03-13 | 187000 | 1870000 | 0
2011-03-14 | 187000 | 1870000 | 0
2011-03-15 | 187000 | 1870000 | 0
2011-03-16 | 187000 | 1870000 | 0
2011-03-17 | 187222 | 1872220 | 2220
2011-03-18 | 187324 | 1873240 | 1020
2011-03-19 | 187324 | 1873240 | 0
2011-03-20 | 187324 | 1873240 | 0
2011-03-21 | 187325 | 1873250 | 10
2011-03-22 | 187529 | 1875290 | 2040
2011-03-23 | 187529 | 1875290 | 0
2011-03-24 | 187612 | 1876120 | 830
2011-03-25 | 187728 | 1877280 | 1160
2011-03-26 | 187728 | 1877280 | 0
2011-03-27 | 187728 | 1877280 | 0
2011-03-28 | 187728 | 1877280 | 0
2011-03-29 | 187728 | 1877280 | 0
2011-03-30 | 188068 | 1880680 | 3400
2011-03-31 | 188272 | 1882720 | 2040
|  |  | No. of pumping days | 365
|  |  | Lowest volume Pumped | -10
|  |  | Mean Volume Pumped | 5158.137
|  |  | Highest Volume Pumped | 1653810