## 2019-2020
|  | INFRASTRUCTURE SERVICES DEPARTMENT | [10 empty] | 91 Adelaide Street BLAYNEY NSW 2799 | [7 empty] | INFRASTRUCTURE SERVICES DEPARTMENT | [9 empty] | 91 Adelaide Street BLAYNEY NSW 2799
|  | Blayney Sewage Treatment Works - Licence Point Sampling | [18 empty] | Blayney Sewage Treatment Works - Licence Point Sampling
|  | License Point No. |  |  |  | 1 |  |  | Point 1 to be sampled if discharge to river occurs | [11 empty] | License Point No. |  |  | 3
|  | Period |  |  |  | 2019-2020 | [14 empty] | Period |  |  | 2019-2020
|  | Sampling Frequency |  |  |  | If discharge to creek occurs | [14 empty] | Sampling Frequency |  |  | Monthly
|  | Published Date | [18 empty] | Published Date
Date Sample Taken | Date Reported | Biochemical Oxygen Demand (mg/L) |  | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L) |  | UVT % @ 254nm | UVT % @ 270nm | Date Sample Taken | Date Reported | Biochemical Oxygen Demand (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L)
|  | Point 1 License Conditions 100%ile | [18 empty] | Approved Concentration Limit
|  | 30 |  | 30 |  | 6.5-8.5 | 600 |  | 10 |  | 15 |  | 1 | N/A | 2 | [5 empty] | No limit or range defined in licence
2020-01-07 | 2020-01-21 | < | 5 |  | 27 | 7.4 |  | 3800 | < | 5 |  | 3.2 | 0.25 | 0.35 | < | 0.5 |  |  | 2019-04-10 | 2019-04-23 | 5 |  | 7 | 8.64 |  | 40 | < | 5 |  | 1.7 | 0.41 |  | < | 0.5
2020-02-12 | 2020-02-25 | < | 5 |  | 1 | 7.2 |  | 42 | < | 5 |  | 6.2 | 0.38 | 0.2 | < | 0.5 |  |  | 2019-05-08 | 2019-05-22 | 8 |  | 2 | 7.84 | < | 1 | < | 5 |  | 7.8 | 0.26 |  |  | 2.8
2020-03-11 | 2020-03-24 | < | 5 |  | 2 | 7.34 |  | 100 | < | 5 |  | 5.7 | 0.57 | 0.23 | < | 0.5 | 50 | 56 | 2019-06-04 | 2019-06-19 | 9 |  | 3 | 7.66 |  | 15 | < | 5 |  | 8.8 | 0.69 |  |  | 3.2
[19 empty] | 2019-07-09 | 2019-07-22 | 6 |  | 4 | 7.72 |  | 4 | < | 5 |  | 7.1 | 0.2 |  |  | 2.1
[19 empty] | 2019-08-14 | 2019-08-27 | 5 |  | 11 | 9.64 | < | 1 | < | 5 |  | 9.1 | 0.2 |  | < | 0.5
[19 empty] | 2019-09-19 | 2019-10-01 | 5 |  | 6 | 8.75 |  | 15 | < | 5 |  | 3.2 | 0.23 |  | < | 0.5
[19 empty] | 2019-10-17 | 2019-10-30 | 5 |  | 5 | 8.89 |  | 6 | < | 5 |  | 6.3 | 0.26 |  | < | 0.5
[19 empty] | 2019-11-19 | 2019-12-05 | 6 |  | 7 | 8.24 |  | 47 | < | 5 |  | 7 | 0.21 |  | < | 0.5
[19 empty] | 2019-12-11 | 2019-12-23 | 5 |  | 6 | 7.76 |  | 14 | < | 5 |  | 5.2 | 0.66 |  | < | 0.5
CVO Effluent transfer System Suspended 11/12/2019
No of Samples Collected |  | 3 |  | 3 | 3 | 3 | 3 |  | 3 |  | 3 |  | 3 | 3 | 3 |  |  |  | No of Samples Collected |  | 9 | 9 | 9 | 9 | 9 |  | 9 |  | 9 |  | 9 | 0 | 9
Lowest Sample Value |  | < | 5 |  | 1 | 7.2 | 42 |  | < | 5 | < | 3.2 | 0.25 | 0.2 | < | 0.5 |  |  | Lowest Sample Value |  | 5 |  | 2 | 7.66 | 1 |  | < | 5 | < | 1.7 | 0.2 | 0 | < | 0.5
Mean of Samples |  | 5 | 1.6667 | 10 |  | 7.3133 | 1314 |  | 5 | 1.6667 | 5.0333 |  | 0.4 | 0.26 | 0.5 |  |  |  | Mean of Samples |  | 6 | 5.6667 |  | 8.3489 | 15.8889 |  | 5 | 5 | 6.2444 |  | 0.34667 | #DIV/0! | 1.2333
Highest Sample Value |  | 5 |  | 27 |  | 7.4 | 3800 |  | 5 |  | 6.2 |  | 0.57 | 0.35 | 0.5 |  |  |  | Highest Sample Value |  | 9 | 11 |  | 9.64 | 47 |  | 5 |  | 9.1 |  | 0.69 | 0 | 3.2
37095000
|  | 185.475 |  | 370.95 |  | 271.2881 | 48742.83 |  | 185.475 |  | 186.7115 |  | 14.838 | 9.6447
|  | INFRASTRUCTURE SERVICES DEPARTMENT | [10 empty] | 91 Adelaide Street BLAYNEY NSW 2799
Blayney Sewage Treatment Works - Licence Point Sampling
|  | License Point No. |  |  |  | 2
|  | Period |  |  |  | 2019-2020
|  | Sampling Frequency |  |  |  | Yearly
Published Date
Date Sample Taken | Date Reported | Biological Oxygen Demand (mg/L) |  | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L) |  | UVT % @ 254nm | UVT % @ 270nm |  | Catch Pond
|  | Approved Concentration Limit | [16 empty] | Date Sample Taken | Date Reported | Biochemical Oxygen Demand (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Ammonia - N (mg/L) |  | UVT % @ 254nm | UVT % @ 270nm
|  | No limit or range defined in licence | [18 empty] | Catch Pond Summary
2019-07-09 | 2019-07-22 | < | 5 |  | 4 | 7.76 |  | 2 | < | 5 |  | 8.6 | 0.21 | 0.2 |  | 3.4 |  |  | 2019-08-14 | 2019-08-28 | 5 |  | 7 | 7.24 |  | 6700 | < | 5 |  | 9.6 | 0.19 |  | 0.7
2019-08-14 | 2019-08-27 | < | 5 |  | 12 | 9.75 |  | 1 | < | 5 |  | 7.8 | 0.17 | 0.2 |  | 0.7 |  |  | 2019-09-19 | 2019-10-01 | 5 |  | 6 | 7.28 |  | 1300 | < | 5 |  | 7.7 | 0.15 |  | 1
2019-09-19 | 2019-10-01 |  | 9 |  | 12 | 8.7 |  | 5 | < | 5 |  | 3.5 | 0.3 | 0.55 | < | 0.5 |  |  | 2019-10-17 | 2019-10-30 | 5 |  | 5 | 7.2 |  | 1400 | < | 5 |  | 9.5 | 0.24 |  | 2.1 | 64 | 68
2019-10-17 | 2019-10-30 |  | 5 |  | 5 | 8.85 |  | 510 | < | 5 |  | 6.5 | 0.25 | 0.32 | < | 0.5 |  |  | 2020-03-11 | 2020-03-24 | 5 |  | 4 | 7.4 |  | 2800 | < | 5 |  | 8.7 | 0.56 |  | 1.3 | 69 | 73
2019-12-11 | 2019-12-23 | < | 5 |  | 6 | 8.05 |  | 28 | < | 5 |  | 4.4 | 0.86 | 0.26 | < | 0.5 |  |  | 2020-04-15 | 2020-04-29 | 5 |  | 4 | 7.24 |  | 1100 | < | 5 |  | 6.6 | 0.44 |  | 1.4 | 70 | 74
2020-01-07 | 2020-01-21 | < | 5 |  | 12 | 8.72 |  | 160 | < | 5 |  | 3.7 | 0.26 | 0.22 | < | 0.5
2020-02-12 | 2020-02-25 | < | 5 |  | 1 | 7.84 |  | 120 | < | 5 |  | 6.9 | 0.37 | 0.3 | < | 0.5
2020-03-11 | 2020-03-24 | < | 5 |  | 9 | 7.74 |  | 75 | < | 5 |  | 7.3 | 0.63 | 0.56 | < | 0.5 | 65 | 69
No of Samples Collected |  | 8 |  | 8 | 8 | 8 | 8 |  | 8 |  | 8 |  | 8 | 8 | 8 |  | 1 | 1 | No of Samples Collected |  | 5 | 5 | 5 | 5 | 5 |  | 5 |  | 5 |  | 5 | 5 |  | 3 | 3
Lowest Sample Value |  | < | 5 |  | 1 | 7.74 | 1 |  | < | 5 | < | 3.5 | 0.17 | 0.2 | < | 0.5 | 65 | 69 | Lowest Sample Value |  | 5 |  | 4 | 7.2 | 1100 |  |  | 5 |  | 6.6 | 0.15 |  | 0.7 | 64 | 68
Mean of Samples |  | 5.5 | 4.8889 | 7.625 |  | 8.4262 | 112.625 |  | 5 | 4.4444 | 6.0875 |  | 0.38125 | 0.32625 | 0.8875 |  | 65 | 69 | Mean of Samples |  | 5 | 5.2 |  | 7.272 | 2660 |  | 5 | 2.7778 | 8.42 |  | 0.316 | 1.3 |  | 67.6667 | 71.6667
Highest Sample Value |  | 9 |  | 12 |  | 9.75 | 510 |  | 5 |  | 8.6 |  | 0.86 | 0.56 | 3.4 |  | 65 | 69 | Highest Sample Value |  | 5 | 7 |  | 7.4 | 6700 |  | 5 |  | 9.6 |  | 0.56 | 2.1 |  | 70 | 74

## 2020-2021
|  |  | INFRASTRUCTURE SERVICES DEPARTMENT | [10 empty] | 91 Adelaide Street BLAYNEY NSW 2799 | [7 empty] | INFRASTRUCTURE SERVICES DEPARTMENT | [9 empty] | 91 Adelaide Street BLAYNEY NSW 2799
|  |  | Blayney Sewage Treatment Works - Licence Point Sampling | [18 empty] | Blayney Sewage Treatment Works - Licence Point Sampling
|  |  | License Point No. |  |  |  | 1 | [14 empty] | License Point No. |  |  | 3
|  |  | Period |  |  |  | 2021 - 2022 | [14 empty] | Period |  |  | 2021 - 2022
|  |  | Sampling Frequency |  |  |  | Monthly - when discharge occurs | [14 empty] | Sampling Frequency |  |  | Monthly
|  |  | Published Date | [18 empty] | Published Date
| Date Sample Taken | Date Reported | Biochemical Oxygen Demand (mg/L) |  | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L) |  | UVT % @ 254nm | UVT % @ 270nm | Date Sample Taken | Date Reported | Biochemical Oxygen Demand (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L)
|  |  | Point 1 License Conditions 100%ile | [18 empty] | Approved Concentration Limit
|  |  | 30 |  | 30 |  | 6.5-8.5 | 600 |  | 10 |  | 15 |  | 1 | N/A | 2 | [5 empty] | No limit or range defined in licence
| 2020-04-15 | 2020-04-29 | < | 5 |  | 1 | 7.26 |  | 370 | < | 5 |  | 2.7 | 0.66 | 0.54 | < | 0.5 | 64 | 68
| 2020-05-11 | 2020-05-25 | < | 5 |  | 1 | 7.14 |  | 120 | < | 5 |  | 4 | 0.24 | 0.31 | < | 0.5 | 67 | 72
| 2020-06-03 | 2020-06-18 | < | 5 | < | 1 | 6.85 |  | 90 | < | 5 |  | 5.4 | 0.05 | 0.29 | < | 0.5 | 71 | 75
| 2020-07-14 | 2020-07-30 | < | 5 | < | 1 | 6.97 |  | 77 | < | 5 |  | 4.6 | 0.09 | 0.34 | < | 0.5 | 71 | 75
| 2020-08-11 | 2020-08-24 | < | 5 | < | 1 | 7.86 |  | 110 | < | 5 |  | 8.8 | 0.24 | 0.32 | < | 0.5 | 67 | 72
| 2020-09-09 | 2020-09-24 | < | 5 |  | 1 | 7.18 |  | 7 | < | 5 |  | 6.9 | 0.17 | 0.2 | < | 0.5 | 65 | 69
| 2020-10-14 | 2020-10-27 | < | 5 |  | 2 | 7.28 |  | 10 | < | 5 |  | 3.8 | 0.36 | 0.2 | < | 0.5 | 59 | 64
| 2020-11-12 | 2020-11-24 | < | 5 |  | 3 | 7.55 |  | 61 | < | 5 |  | 3 | 1.1 | 0.28 | < | 0.5 | 56 | 60
| 2020-12-09 | 2020-12-21 | < | 5 |  | 2 | 7.16 |  | 3 | < | 5 |  | 2.7 | 1.9 | 0.2 | < | 0.5 | 51 | 56
| 2021-01-13 | 2021-01-27 | < | 5 |  | 4 | 7.26 |  | 2 | < | 5 |  | 4.9 | 1.9 | 0.22 | < | 0.5 | 56 | 62
| 2021-02-17 | 2021-03-02 | < | 5 |  | 2 | 7.04 |  | 3 | < | 5 |  | 3.6 | 0.64 | 0.22 | < | 0.5 | 57 | 62
| 2021-03-17 | 2021-03-30 | < | 5 |  | 2 | 7.06 |  | 210 | < | 5 |  | 4.9 | 0.47 | 0.2 | < | 0.5 | 60 | 64
| No of Samples Collected |  | 12 |  | 12 | 12 | 12 | 12 |  | 12 |  | 12 |  | 12 | 12 | 12 |  |  |  | No of Samples Collected |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
| Lowest Sample Value |  | < | 5 |  | 1 | 6.85 | 2 |  | < | 5 | < | 2.7 | 0.05 | 0.2 | < | 0.5 |  |  | Lowest Sample Value |  | 0 |  | 0 | 0 | 0 |  | < | 0 | < | 0 | 0 | 0 | < | 0
| Mean of Samples |  | 5 | 6.6667 | 1.75 |  | 7.2175 | 88.5833 |  | 5 | 6.6667 | 4.6083 |  | 0.65167 | 0.27667 | 0.5 |  |  |  | Mean of Samples |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | 0 | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
| Highest Sample Value |  | 5 |  | 4 |  | 7.86 | 370 |  | 5 |  | 8.8 |  | 1.9 | 0.54 | 0.5 |  |  |  | Highest Sample Value |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
0
[22 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | INFRASTRUCTURE SERVICES DEPARTMENT | [10 empty] | 91 Adelaide Street BLAYNEY NSW 2799
Blayney Sewage Treatment Works - Licence Point Sampling
|  |  | License Point No. |  |  |  | 2
|  |  | Period |  |  |  | 2020 - 2021
|  |  | Sampling Frequency |  |  |  | Monthly
Published Date
Catch Pond
| Date Sample Taken | Date Reported | Biological Oxygen Demand (mg/L) |  | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L) |  | UVT % @ 254nm | UVT % @ 270nm | Date Sample Taken | Date Reported | Biochemical Oxygen Demand (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Ammonia - N (mg/L) |  | UVT % @ 254nm | UVT % @ 270nm
|  |  | Approved Concentration Limit | [18 empty] | Catch Pond Summary
|  |  | No limit or range defined in licence | [16 empty] | 2019-08-14 | 2019-08-28 | 5 |  | 7 | 7.24 |  | 6700 | < | 5 |  | 9.6 | 0.19 |  | 0.7
| 2020-04-15 | 2020-04-29 | < | 5 |  | 7 | 7.9 |  | 350 | < | 5 |  | 5.6 | 0.66 | 0.7 |  | 1 | 64 | 68 | 2019-09-19 | 2019-10-01 | 5 |  | 6 | 7.28 |  | 1300 | < | 5 |  | 7.7 | 0.15 |  | 1
| 2020-05-11 | 2020-05-25 | < | 5 |  | 11 | 7.73 |  | 17 | < | 5 |  | 10 | 0.26 | 0.52 |  | 1.3 | 68 | 73 | 2019-10-17 | 2019-10-30 | 5 |  | 5 | 7.2 |  | 1400 | < | 5 |  | 9.5 | 0.24 |  | 2.1 | 64 | 68
| 2020-06-03 | 2020-06-18 | < | 5 |  | 5 | 7.51 |  | 41 | < | 5 |  | 9.2 | 0.09 | 0.41 | < | 0.5 | 73 | 77 | 2020-03-11 | 2020-03-24 | 5 |  | 4 | 7.4 |  | 2800 | < | 5 |  | 8.7 | 0.56 |  | 1.3 | 69 | 73
| 2020-07-14 | 2020-07-30 | < | 5 |  | 2 | 7.82 |  | 10 | < | 5 |  | 8.1 | 0.15 | 0.29 |  | 0.7 | 72 | 76 | 2020-04-15 | 2020-04-29 | 5 |  | 4 | 7.24 |  | 1100 | < | 5 |  | 6.6 | 0.44 |  | 1.4 | 70 | 74
| 2020-08-11 | 2020-08-24 | < | 5 | < | 1 | 7.05 |  | 34 | < | 5 |  | 7.2 | 0.22 | 0.28 | < | 0.5 | 72 | 76 | 2020-05-11 | 2020-05-25 | 5 |  | 2 | 7.36 |  | 9600 | < | 5 |  | 13 | 0.23 |  | 1.8 | 70 | 74
| 2020-09-09 | 2020-09-24 | < | 5 | < | 1 | 8.42 |  | 2 | < | 5 |  | 7.1 | 0.14 | 0.22 | < | 0.5 | 74 | 78 | 2020-06-03 | 2020-06-18 | 5 |  | 3 | 7.21 |  | 8800 | < | 5 |  | 10 | 0.09 |  | 1.4 | 73 | 77
| 2020-10-14 | 2020-10-27 | < | 5 |  | 3 | 7.94 |  | 8 | < | 5 |  | 6.4 | 0.44 | 0.22 |  | 1.3 | 67 | 71 | 2020-07-14 | 2020-07-30 | 5 |  | 7 | 7.25 |  | 410 | < | 5 |  | 11 | 0.17 |  | 1 | 69 | 73
| 2020-11-12 | 2020-11-24 | < | 5 |  | 1 | 7.99 |  | 44 | < | 5 |  | 7.2 | 1.5 | 0.23 |  | 0.7 | 62 | 66 | 2020-10-14 | 2020-10-27 | 5 |  | 6 | 7.62 |  | 23000 | < | 5 |  | 9.1 | 1.2 |  | 1.8 | 66 | 66
| 2020-12-09 | 2020-12-21 | < | 5 |  | 10 | 8.04 |  | 19 | < | 5 |  | 4.2 | 1.9 | 0.45 | < | 0.5 | 61 | 66
| 2021-01-13 | 2021-01-27 | < | 5 |  | 6 | 8.98 |  | 12 | < | 5 |  | 4.6 | 4.6 | 0.36 | < | 0.5 | 64 | 69
| 2021-02-17 | 2021-03-02 | < | 5 |  | 6 | 9.02 |  | 6 | < | 5 |  | 4.4 | 0.59 | 0.26 | < | 0.5 | 66 | 71
| 2021-03-17 | 2021-03-30 | < | 5 |  | 4 | 7.98 |  | 25 | < | 5 |  | 4.8 | 0.4 | 0.28 | < | 0.5 | 66 | 74
| No of Samples Collected |  | 12 |  | 12 | 12 | 12 | 12 |  | 12 |  | 12 |  | 12 | 12 | 12 |  | 12 | 12 | No of Samples Collected |  | 9 | 9 | 9 | 9 | 9 |  | 9 |  | 9 |  | 9 | 9 |  | 7 | 7
| Lowest Sample Value |  | < | 5 |  | 1 | 7.05 | 2 |  | < | 5 | < | 4.2 | 0.09 | 0.22 | < | 0.5 | 61 | 66 | Lowest Sample Value |  | 5 |  | 2 | 7.2 | 410 |  |  | 5 |  | 6.6 | 0.09 |  | 0.7 | 64 | 66
| Mean of Samples |  | 5 | 6.6667 | 4.75 |  | 8.0317 | 47.3333 |  | 5 | 6.6667 | 6.5667 |  | 0.9125 | 0.35167 | 0.70833 |  | 67.4167 | 72.0833 | Mean of Samples |  | 5 | 4.8889 |  | 7.3111 | 6123.3333 |  | 5 | 5 | 9.4667 |  | 0.36333 | 1.3889 |  | 68.7143 | 72.1429
| Highest Sample Value |  | 5 |  | 11 |  | 9.02 | 350 |  | 5 |  | 10 |  | 4.6 | 0.7 | 1.3 |  | 74 | 78 | Highest Sample Value |  | 5 | 7 |  | 7.62 | 23000 |  | 5 |  | 13 |  | 1.2 | 2.1 |  | 73 | 77
Flow |  | 0
Actual Load |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0

## 2021-2022
|  |  | INFRASTRUCTURE SERVICES DEPARTMENT | [10 empty] | 91 Adelaide Street BLAYNEY NSW 2799 | [7 empty] | INFRASTRUCTURE SERVICES DEPARTMENT | [8 empty] | 91 Adelaide Street BLAYNEY NSW 2799
|  |  | Blayney Sewage Treatment Works - Licence Point Sampling | [18 empty] | Blayney Sewage Treatment Works - Licence Point Sampling
|  |  | License Point No. |  |  |  | 1 | [14 empty] | License Point No. |  |  | 3
|  |  | Period |  |  |  | 2020 - 2021 | [14 empty] | Period |  |  | 2020 - 2021
|  |  | Sampling Frequency |  |  |  | Monthly - when discharge occurs | [14 empty] | Sampling Frequency |  |  | Monthly
|  |  | Published Date | [18 empty] | Published Date
| Date Sample Taken | Date Reported | Biochemical Oxygen Demand (mg/L) |  | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L) |  | UVT % @ 254nm | UVT % @ 270nm | Date Sample Taken | Date Reported | Biochemical Oxygen Demand (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L)
|  |  | Point 1 License Conditions 100%ile | [18 empty] | Approved Concentration Limit
|  |  | 30 |  | 30 |  | 6.5-8.5 | 600 |  | 10 |  | 15 |  | 1 | N/A | 2 | [5 empty] | No limit or range defined in licence
| 2021-04-20 | 2021-05-04 | < | 5 |  | 1 | 7.07 |  | 7 | < | 5 |  | 3.4 | 0.14 | 1.7 | < | 0.5
| 2021-05-13 | 2021-05-14 | < | 5 |  | 1 | 6.97 |  | 62 | < | 5 |  | 3.2 | 0.28 | 0.2 | < | 0.5
| 2021-06-16 | 2021-07-01 | < | 5 |  | 1 | 6.88 |  | 6 | < | 5 |  | 2.2 | 0.54 | 0.2 | < | 0.5
| 2021-07-27 | 2021-08-06 | < | 5 |  | 1 | 7.12 |  | 4 | < | 5 |  | 3.1 | 0.14 | 0.2 |  | 2.3
| 2021-08-25 | 2021-09-10 | < | 5 |  | 21 | 7.16 |  | 1000 | < | 5 |  | 5.8 | 0.34 | 0.6 | < | 0.5
| 2021-09-16 | 2021-09-29 | < | 5 |  | 1 | 7.25 |  | 10 | < | 5 |  | 4.7 | 0.3 | 0.1 | < | 0.5
| No of Samples Collected |  | 6 |  | 6 | 6 | 6 | 6 |  | 6 |  | 6 |  | 6 | 6 | 6 |  |  |  | No of Samples Collected |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0
| Lowest Sample Value |  | < | 5 |  | 1 | 6.88 | 4 |  | < | 5 | < | 2.2 | 0.14 | 0.1 | < | 0.5 |  |  | Lowest Sample Value |  | 0 |  | 0 | 0 | 0 | < | 0 | < | 0 | 0 | 0 | < | 0
| Mean of Samples |  | 5 | 3.3333 | 4.3333 |  | 7.075 | 181.5 |  | 5 | 3.3333 | 3.7333 |  | 0.29 | 0.5 | 0.8 |  |  |  | Mean of Samples |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
| Highest Sample Value |  | 5 |  | 21 |  | 7.25 | 1000 |  | 5 |  | 5.8 |  | 0.54 | 1.7 | 2.3 |  |  |  | Highest Sample Value |  | 0 | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0
0
[22 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | INFRASTRUCTURE SERVICES DEPARTMENT | [10 empty] | 91 Adelaide Street BLAYNEY NSW 2799
Blayney Sewage Treatment Works - Licence Point Sampling
|  |  | License Point No. |  |  |  | 2
|  |  | Period |  |  |  | 2020 - 2021
|  |  | Sampling Frequency |  |  |  | Monthly
Published Date
Catch Pond
| Date Sample Taken | Date Reported | Biological Oxygen Demand (mg/L) |  | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L) |  | UVT % @ 254nm | UVT % @ 270nm | Date Sample Taken | Date Reported | Biochemical Oxygen Demand (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Ammonia - N (mg/L) |  | UVT % @ 254nm | UVT % @ 270nm
|  |  | Approved Concentration Limit | [18 empty] | Catch Pond Summary
No limit or range defined in licence
| 2021-04-20 | 2021-05-04 | < | 5 |  | 4 | 9.14 |  | 4 | < | 5 |  | 3.6 | 0.16 | 0.29 | < | 0.5
| 2021-05-13 | 2021-05-14 | < | 5 |  | 3 | 7.74 |  | 7 | < | 5 |  | 7.6 | 0.31 | 0.25 |  | 3
| 2021-06-16 | 2021-07-01 | < | 5 |  | 3 | 7.58 | < | 1 | < | 5 |  | 5.4 | 0.66 | 0.2 |  | 2
| 2021-07-27 | 2021-08-06 | < | 5 |  | 3 | 7.44 |  | 120 | < | 5 |  | 8.9 | 0.14 | 0.24 |  | 2.6
| 2021-08-25 | 2021-09-10 | < | 5 |  | 3 | 7.44 |  | 1300 | < | 5 |  | 8.2 | 0.36 | 0.1 |  | 3.2
| 2021-09-16 | 2021-09-29 | < | 5 |  | 1 | 9.08 |  | 1 | < | 5 |  | 5.7 | 0.35 | 0.1 | < | 0.5
| No of Samples Collected |  | 6 |  | 6 | 6 | 6 | 6 |  | 6 |  | 6 |  | 6 | 6 | 6 |  | 0 | 0 | No of Samples Collected |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0
| Lowest Sample Value |  | < | 5 |  | 1 | 7.44 | 1 |  | < | 5 | < | 3.6 | 0.14 | 0.1 | < | 0.5 | 0 | 0 | Lowest Sample Value |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0
| Mean of Samples |  | 5 | 3.3333 | 2.8333 |  | 8.07 | 238.8333 |  | 5 | 3.3333 | 6.5667 |  | 0.33 | 0.19667 | 1.9667 |  | #DIV/0! | #DIV/0! | Mean of Samples |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
| Highest Sample Value |  | 5 |  | 4 |  | 9.14 | 1300 |  | 5 |  | 8.9 |  | 0.66 | 0.29 | 3.2 |  | 0 | 0 | Highest Sample Value |  | 0 | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0
Flow |  | 0
Actual Load |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0

## 2022-2023
|  |  | INFRASTRUCTURE SERVICES DEPARTMENT | [10 empty] | 91 Adelaide Street BLAYNEY NSW 2799 | [7 empty] | INFRASTRUCTURE SERVICES DEPARTMENT | [9 empty] | 91 Adelaide Street BLAYNEY NSW 2799
|  |  | Blayney Sewage Treatment Works - Licence Point Sampling | [18 empty] | Blayney Sewage Treatment Works - Licence Point Sampling
|  |  | License Point No. |  |  |  | 1 |  |  | Point 1 to be sampled if discharge to river occurs | [11 empty] | License Point No. |  |  | 3
|  |  | Period |  |  |  | 2022-2023 | [14 empty] | Period |  |  | 2021-2022
|  |  | Sampling Frequency |  |  |  | If discharge to creek occurs | [14 empty] | Sampling Frequency |  |  | Monthly
|  |  | Published Date | [18 empty] | Published Date
| Date Sample Taken | Date Reported | Biochemical Oxygen Demand (mg/L) |  | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L) |  | UVT % @ 254nm | UVT % @ 270nm | Date Sample Taken | Date Reported | Biochemical Oxygen Demand (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L)
|  |  | Point 1 License Conditions 100%ile | [18 empty] | Approved Concentration Limit
|  |  | 30 |  | 30 |  | 6.5-8.5 | 600 |  | 10 |  | 15 |  | 1 | N/A | 2 | [5 empty] | No limit or range defined in licence
| 2022-04-20 | 2022-05-06 | < | 5 |  | 2 | 7.05 |  | 510 | < | 5 |  | 4.9 | 0.1 | < 0.20 |  | 1.5 | 63 | 68
| 2022-05-26 | 2022-06-24 | < | 5 |  | 2 | 6.92 |  | 26 | < | 5 |  | 5.9 | 2.6 | < 0.20 | < | 0.5 | 67 | 71
| 2022-06-21 | 2022-07-08 | < | 5 |  | 1 | 7.1 | ~ | 4 | < | 5 |  | 6.9 | 0.3 | < 0.20 | < | 0.5 | 72 | 77
| 2022-07-13 | 2022-07-29 | < | 5 |  | 1 | 7.14 | ~ | 1 | < | 5 |  | 4.3 | 0.21 | < 0.20 | < | 0.5 | 74 | 78
| 2022-08-17 | 2022-08-29 | < | 5 |  | 1 | 7.18 | ~ | 2 | < | 5 |  | 4.3 | 0.26 | < 0.1 | < | 0.5 | 69 | 74
| 2022-09-07 | 2022-09-20 | < | 5 | < | 1 | 7.38 | ~ | 6 | < | 5 |  | 3.8 | 0.41 | < 0.20 | < | 0.5 | 70 | 73
| 2022-10-19 | 2022-11-02 | < | 5 |  | 3 | 7.41 | ~ | 8 | < | 5 |  | 4 | 0.23 | < 0.20 | < | 0.5 | 62 | 67
| 2022-11-21 | 2022-12-01 | < | 5 |  | 2 | 7.62 |  | 42 | < | 5 |  | 5.2 | 0.24 | 0.06 | < | 0.5 | 57 | 62
| 2022-12-07 | 2022-12-20 | < | 5 |  | 2 | 7.35 |  | 59 | < | 5 |  | 4.4 | 0.16 | < 0.20 | < | 0.5 | 64 | 69
| 2023-01-17 | 2023-01-18 | < | 5 |  | 5 | 7.08 |  | 39 | < | 5 |  | 5.8 | 0.2 | < 0.20 | < | 0.5 | 61 | 66
| 2023-02-15 | 2023-03-06 | < | 5 |  | 4 | 7.12 | ~ | 3 | < | 5 |  | 4.5 | 0.55 | 0.31 | < | 0.5 | 61 | 66
| 2023-03-22 | 2023-04-04 | < | 5 |  | 6 | 7.1 |  | 78 | < | 5 |  | 3.4 | 0.32 | 0.22 | < | 0.5 | 58 | 63
| 2023-04-12 | 2023-04-26 | < | 5 |  | 5 | 7.29 |  | 25 | < | 5 |  | 3.2 | 1.1 | < 0.20 | < | 0.5 | 64 | 69
| No of Samples Collected |  | 13 |  | 13 |  | 13 | 13 |  | 13 |  | 13 |  | 13 | 12 | 13 |  | 13 | 13 | No of Samples Collected |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
| Lowest Sample Value |  | < | 5 |  | 1 | 6.92 | 1 |  | < | 5 | < | 3.2 | 0.1 | 0.06 | < | 0.5 | 57 | 62 | Lowest Sample Value |  | 0 |  | 0 | 0 | 0 |  | < | 0 | < | 0 | 0 | 0 | < | 0
| Mean of Samples |  | 5 | 7.2222 | 2.6923 |  | 7.2108 | 61.7692 |  | 5 | 7.2222 | 4.6615 |  | 0.51385 | 0.049167 | 0.57692 |  | 64.7692 | 69.4615 | Mean of Samples |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | 0 | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
| Highest Sample Value |  | 5 |  | 6 |  | 7.62 | 510 |  | 5 |  | 6.9 |  | 2.6 | 0.31 | 1.5 |  | 74 | 78 | Highest Sample Value |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
0
[22 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | INFRASTRUCTURE SERVICES DEPARTMENT | [10 empty] | 91 Adelaide Street BLAYNEY NSW 2799 | [8 empty] | INFRASTRUCTURE SERVICES DEPARTMENT | [10 empty] | 91 Adelaide Street BLAYNEY NSW 2799
|  |  | Blayney Sewage Treatment Works - Licence Point Sampling | [19 empty] | Blayney Sewage Treatment Works - Licence Point Sampling
|  |  | License Point No. |  |  |  | 2
|  |  | Period |  |  |  | 2022-2023 | [16 empty] | Inlet Works
|  |  | Sampling Frequency |  |  |  | Monthly
Published Date
| Date Sample Taken | Date Reported | Biological Oxygen Demand (mg/L) |  | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L) |  | UVT % @ 254nm | UVT % @ 270nm |  | Date Sample Taken | Date Reported | Biological Oxygen Demand (mg/L) |  | Total Suspended Solids (mg/L) |  | pH | Total Phosphorous (mg/L)
Approved Concentration Limit
No limit or range defined in licence
| 2022-04-20 | 2022-05-06 |  | 6 |  | 10 | 7.64 |  | 700 | < | 5 |  | 3.4 | 0.5 | <0.20 | < | 0.5 | 62 | 66 |  | 2021-04-20 | 2021-05-04 |  | 231 |  | 423 | 7.64 |  | 4.6
| 2022-05-26 | 2022-06-24 | < | 5 |  | 3 | 6.85 | < | 1 | < | 5 |  | 7.2 | 3.5 | 0.21 | < | 0.5 | 69 | 73
| 2022-06-21 | 2022-07-08 | < | 5 |  | 4 | 7.33 | ~ | 1 | < | 5 |  | 9.1 | 0.36 | <0.20 |  | 2.4 | 76 | 80
| 2022-07-13 | 2022-07-29 | < | 5 |  | 2 | 7.54 | ~ | 8 | < | 5 |  | 7.3 | 0.17 | <0.20 |  | 2.4 | 74 | 78
| 2022-08-17 | 2022-08-29 | < | 5 |  | 1 | 7.46 |  | 100 | < | 5 |  | 6.2 | 0.4 | <0.1 |  | 1 | 72 | 76
| 2022-09-07 | 2022-09-20 | < | 5 |  | 2 | 7.67 | < | 1 | < | 5 |  | 6.6 | 0.58 | <0.20 |  | 1 | 73 | 76
| 2022-10-19 | 2022-11-02 | < | 5 |  | 3 | 7.68 | ~ | 2 | < | 5 |  | 6.3 | 0.28 | 0.28 |  | 1 | 73 | 77
| 2022-11-21 | 2022-12-01 | < | 5 |  | 2 | 8.02 | ~ | 2 | < | 5 |  | 5.3 | 0.23 | 0.12 | < | 0.5 | 71 | 75
| 2022-12-07 | 2022-12-20 | < | 5 |  | 2 | 9.1 | ~ | 1 | < | 5 |  | 4.5 | 0.36 | <0.20 | < | 0.5 | 72 | 76
| 2023-01-17 | 2023-01-18 | < | 5 |  | 4 | 8.64 | ~ | 3 | < | 5 |  | 4.3 | 0.22 | <0.20 | < | 0.5 | 68 | 73
| 2023-02-15 | 2023-03-06 | < | 5 |  | 1 | 7.64 |  | 24 | < | 5 |  | 4.4 | 0.32 | <0.20 | < | 0.5 | 67 | 72
| 2023-03-22 | 2023-04-04 | < | 5 |  | 14 | 8.92 |  | 41 | < | 5 |  | 3.1 | 1 | 0.32 | < | 0.5 | 62 | 67
| 2023-04-12 | 2023-04-26 | < | 5 |  | 3 | 7.75 |  | 39 | < | 5 |  | 7.2 | 1.5 | 0.22 |  | 3.5 | 67 | 71
| No of Samples Collected |  | 13 |  | 13 | 13 | 13 | 13 |  | 13 |  | 13 |  | 13 | 13 | 13 |  | 13 | 13
| Lowest Sample Value |  | < | 5 |  | 1 | 6.85 | 1 |  | < | 5 | < | 3.1 | 0.17 | 0.12 | < | 0.5 | 62 | 66
| Mean of Samples |  | 5.0769 | 7.3333 | 3.9231 |  | 7.8646 | 71 |  | 5 | 7.2222 | 5.7615 |  | 0.72462 | 0.088462 | 1.1385 |  | 69.6923 | 73.8462
| Highest Sample Value |  | 6 |  | 14 |  | 9.1 | 700 |  | 5 |  | 9.1 |  | 3.5 | 0.32 | 3.5 |  | 76 | 80
Flow |  | 0
Actual Load |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0

## 2023-2024
|  |  | INFRASTRUCTURE SERVICES DEPARTMENT | [10 empty] | 91 Adelaide Street BLAYNEY NSW 2799 | [7 empty] | INFRASTRUCTURE SERVICES DEPARTMENT | [9 empty] | 91 Adelaide Street BLAYNEY NSW 2799
|  |  | Blayney Sewage Treatment Works - Licence Point Sampling | [18 empty] | Blayney Sewage Treatment Works - Licence Point Sampling
|  |  | License Point No. |  |  |  | 1 |  |  | Point 1 to be sampled if discharge to river occurs | [11 empty] | License Point No. |  |  | 3
|  |  | Period |  |  |  | 2023-2024 | [14 empty] | Period |  |  | 2023-2024
|  |  | Sampling Frequency |  |  |  | Monthly If discharge to creek occurs | [14 empty] | Sampling Frequency |  |  | Monthly
|  |  | Published Date |  |  |  | 2024-04-30 | [14 empty] | Published Date
| Date Sample Taken | Date Reported | Biochemical Oxygen Demand (mg/L) |  | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L) |  | UVT % @ 254nm | UVT % @ 270nm | Date Sample Taken | Date Reported | Biochemical Oxygen Demand (mg/L) | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L)
|  |  | Point 1 License Conditions 100%ile | [18 empty] | Approved Concentration Limit
|  |  | 30 |  | 30 |  | 6.5-8.5 | 600 |  | 10 |  | 15 |  | 1 | N/A | 2 | [5 empty] | No limit or range defined in licence
| 2023-04-12 | 2023-04-26 | < | 5 |  | 5 | 7.29 |  | 25 | < | 5 |  | 3.2 | 1.1 | 0.2 | < | 0.5 | 64 | 69
| 2023-05-10 | 2023-05-23 | < | 5 |  | 1 | 7.33 |  | 21 | < | 5 |  | 5.7 | 0.48 | 0.2 |  | 0.7 | 70 | 74
| 2023-06-20 | 2023-07-04 | < | 5 |  | 3 | 7.13 |  | 55 | < | 5 |  | 3.6 | 0.32 | 0.2 | < | 0.5 | 71 | 75
| 2023-07-13 | 2023-07-25 | < | 5 |  | 10 | 7.72 |  | 33 | < | 5 |  | 3.6 | 0.23 | 0.2 | < | 0.5 | 69 | 73
| 2023-08-15 | 2023-08-29 | < | 5 |  | 3 | 7.14 |  | 56 | < | 5 |  | 3.1 | 2.4 | 0.2 | < | 0.5 | 70 | 74
| 2023-09-13 | 2023-09-27 | < | 5 |  | 3 | 7.35 |  | 40 | < | 5 |  | 3.7 | 0.4 | 0.2 | < | 0.5 | 66 | 70
| 2023-10-17 | 2023-10-27 | < | 5 |  | 17 | 7.56 |  | 48 | < | 5 |  | 5.8 | 0.6 | 0.51 | < | 0.5 | 63 | 68
| 2023-11-21 | 4/11/2023* | < | 5 |  | 3 | 7.26 |  | 80 | < | 5 |  | 3.4 | 0.84 | 0.5 | < | 0.5 | 54 | 59
| 2023-12-12 | 2024-01-03 | < | 5 |  | 23 | 7.3 |  | 89 | < | 5 |  | 4 | 1.5 | 0.22 | < | 0.5 | 52 | 58
| 2024-01-16 | 2024-01-30 | < | 5 |  | 5 | 7.27 |  | 130 | < | 5 |  | 3.5 | 1.4 | 0.2 | < | 0.5 | 53 | 58
| 2024-02-21 | 2024-03-06 | < | 5 |  | 6 | 7.24 |  | 390 | < | 5 |  | 4.5 | 0.81 | 0.2 | < | 0.5 | 62 | 67
| 2024-03-13 | 2024-03-25 | < | 5 |  | 5 | 6.95 |  | 240 | < | 5 |  | 4.6 | 1.1 | 0.23 |  | 0.7 | 63 | 67
*error in date on report - assumed to be 12/4/2023
| No of Samples Collected |  | 12 |  | 12 |  | 12 | 12 |  | 12 |  | 12 |  | 12 | 12 | 12 |  | 12 | 12 | No of Samples Collected |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
| Lowest Sample Value |  | < | 5 |  | 1 | 6.95 | 21 |  | < | 5 | < | 3.1 | 0.23 | 0.2 | < | 0.5 | 52 | 58 | Lowest Sample Value |  | 0 |  | 0 | 0 | 0 |  | < | 0 | < | 0 | 0 | 0 | < | 0
| Mean of Samples |  | 5 | 6.6667 | 7 |  | 7.295 | 100.5833 |  | 5 | 6.6667 | 4.0583 |  | 0.93167 | 0.255 | 0.53333 |  | 63.0833 | 67.6667 | Mean of Samples |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | 0 | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
| Highest Sample Value |  | 5 |  | 23 |  | 7.72 | 390 |  | 5 |  | 5.8 |  | 2.4 | 0.51 | 0.7 |  | 71 | 75 | Highest Sample Value |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
0
[22 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | INFRASTRUCTURE SERVICES DEPARTMENT | [10 empty] | 91 Adelaide Street BLAYNEY NSW 2799 | [8 empty] | INFRASTRUCTURE SERVICES DEPARTMENT | [10 empty] | 91 Adelaide Street BLAYNEY NSW 2799
|  |  | Blayney Sewage Treatment Works - Licence Point Sampling | [19 empty] | Blayney Sewage Treatment Works - Licence Point Sampling
|  |  | License Point No. |  |  |  | 2
|  |  | Period |  |  |  | 2022-2023 | [16 empty] | Inlet Works
|  |  | Sampling Frequency |  |  |  | Monthly
|  |  | Published Date |  |  |  | 2024-04-30
| Date Sample Taken | Date Reported | Biological Oxygen Demand (mg/L) |  | Total Suspended Solids (mg/L) |  | pH | Faecal Coliforms (units/100 mL) |  | Oil & Grease (mg/L) |  | Total Nitrogen (mg/L) |  | Total Phosphorous (mg/L) | Aluminium (mg/L) | Ammonia - N (mg/L) |  | UVT % @ 254nm | UVT % @ 270nm |  | Date Sample Taken | Date Reported | Biological Oxygen Demand (mg/L) |  | Total Suspended Solids (mg/L) |  | pH | Total Phosphorous (mg/L)
Approved Concentration Limit
No limit or range defined in licence
| 2023-04-10 | 2023-04-23 | < | 5 |  | 6 | 7.74 |  | 61 | < | 5 |  | 5.9 | 0.38 | 0.29 | < | 0.5 | 66 | 70
| 2023-05-10 | 2023-05-23 | < | 5 |  | 5 | 8.04 |  | 12 | < | 5 |  | 6.5 | 0.37 | 0.2 |  | 1.3 | 73 | 76
| 2023-06-20 | 2023-07-04 | < | 5 |  | 16 | 9.4 |  | 1 | < | 5 |  | 4.3 | 0.26 | 0.2 | < | 0.5 | 70 | 74
| 2023-07-13 | 2023-07-25 | < | 5 |  | 29 | 9.34 |  | 1 | < | 5 |  | 5.4 | 0.34 | 0.37 |  | 0.7 | 71 | 75
| 2023-08-15 | 2023-08-29 | < | 5 |  | 8 | 7.32 |  | 2 | < | 5 |  | 6.3 | 0.39 | 0.21 |  | 2.8 | 71 | 75
| 2023-09-13 | 2023-09-27 | < | 5 |  | 8 | 7.54 |  | 23 | < | 5 |  | 7.8 | 0.6 | 0.22 |  | 2.1 | 69 | 73
| 2023-10-17 | 2023-10-27 | < | 5 |  | 6 | 7.14 |  | 22 | < | 5 |  | 3.7 | 0.29 | 0.24 | < | 0.5 | 61 | 66
| 2023-11-21 | 4/11/2023* | < | 5 |  | 7 | 7.73 |  | 51 | < | 5 |  | 3.3 | 0.98 | 0.31 | < | 0.5 | 62 | 67
| 2023-12-12 | 2024-01-03 | < | 5 |  | 13 | 8.67 |  | 90 | < | 5 |  | 3.8 | 1.6 | 0.2 |  | 1 | 55 | 59
| 2024-01-16 | 2024-01-30 | < | 5 |  | 13 | 8.46 |  | 20 | < | 5 |  | 3.5 | 1.6 | 0.2 | < | 0.5 | 62 | 67
| 2024-02-21 | 2024-03-06 | < | 5 |  | 6 | 7.54 |  | 83 | < | 5 |  | 4.8 | 0.92 | 0.2 | < | 0.5 | 64 | 68
| 2024-03-13 | 2024-03-25 | < | 5 |  | 10 | 7.64 |  | 180 | < | 5 |  | 5.5 | 1.1 | 0.24 |  | 1.8 | 65 | 70
*error in date on report - assumed to be 12/4/2023
| No of Samples Collected |  | 12 |  | 12 | 12 | 12 | 12 |  | 12 |  | 12 |  | 12 | 12 | 12 |  | 12 | 12
| Lowest Sample Value |  | < | 5 |  | 5 | 7.14 | 1 |  | < | 5 | < | 3.3 | 0.26 | 0.2 | < | 0.5 | 55 | 59
| Mean of Samples |  | 5 | 6.6667 | 10.5833 |  | 8.0467 | 45.5 |  | 5 | 6.6667 | 5.0667 |  | 0.73583 | 0.24 | 1.0583 |  | 65.75 | 70
| Highest Sample Value |  | 5 |  | 29 |  | 9.4 | 180 |  | 5 |  | 7.8 |  | 1.6 | 0.37 | 2.8 |  | 73 | 76
Flow |  | 0
Actual Load |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0

## Flow Rates
Flow to creek - License Point 1 |  |  |  | Monthly Totals
Date | Value |  |  | m3 | kL
2024-03-31 00:54 | 526 m³ | 2023 | April | 21511 | 21511
2024-03-30 00:55 | 701 m³ | 2023 | May | 28022 | 28022
2024-03-29 00:54 | 715 m³ | 2023 | June | 29586 | 29586
2024-03-28 00:54 | 645 m³ | 2023 | July | 32961 | 32961
2024-03-27 00:54 | 919 m³ | 2023 | August | 31851 | 31851
2024-03-26 00:54 | 1020 m³ | 2023 | September | 29655 | 29655
2024-03-25 00:54 | 715 m³ | 2023 | October | 23679 | 23679
2024-03-24 00:54 | 706 m³ | 2023 | November | 22063 | 22063
2024-03-23 00:54 | 772 m³ | 2023 | December | 26693 | 26693
2024-03-22 00:54 | 865 m³ | 2024 | January | 19526 | 19526
2024-03-21 00:54 | 869 m³ | 2024 | February | 27059 | 27059
2024-03-20 00:54 | 942 m³ | 2024 | March | 22183 | 22183
2024-03-19 00:54 | 986 m³
2024-03-18 00:54 | 834 m³ |  | Annual Total |  | 314789 | kL
2024-03-17 00:54 | 677 m³ |  |  |  | 314.789 | mL
2024-03-16 00:54 | 762 m³
2024-03-15 00:54 | 1034 m³
2024-03-14 19:58 | 1123 m³ |  | Daily Records
2024-03-13 00:54 | 698 m³
2024-03-12 00:54 | 343 m³ |  | Minimum | 310
2024-03-11 00:54 | 425 m³ |  | Mean | 876.8496
2024-03-10 00:54 | 506 m³ |  | Maximum | 1353
2024-03-09 00:54 | 512 m³ |  | Count of Records | 359
2024-03-08 00:54 | 588 m³
2024-03-07 00:54 | 665 m³
2024-03-06 00:54 | 782 m³
2024-03-05 00:53 | 604 m³
2024-03-04 00:54 | 627 m³
2024-03-03 00:53 | 499 m³
2024-03-02 00:53 | 537 m³
2024-03-01 00:53 | 586 m³
2024-02-29 00:54 | 569 m³
2024-02-28 23:31 | 617 m³
2024-02-27 00:53 | 836 m³
2024-02-26 00:53 | 1149 m³
2024-02-25 00:53 | 1210 m³
2024-02-24 00:53 | 1038 m³
2024-02-23 00:53 | 803 m³
2024-02-22 00:53 | 890 m³
2024-02-21 00:53 | 952 m³
2024-02-20 00:53 | 995 m³
2024-02-19 00:53 | 988 m³
2024-02-18 00:53 | 1046 m³
2024-02-17 00:53 | 1138 m³
2024-02-16 00:53 | 1223 m³
2024-02-15 00:53 | 1227 m³
2024-02-14 18:06 | 1037 m³
2024-02-13 18:18 | 1065 m³
2024-02-12 00:53 | 1142 m³
2024-02-11 00:53 | 1223 m³
2024-02-10 00:53 | 1272 m³
2024-02-09 00:53 | 1309 m³
2024-02-08 00:53 | 1351 m³
2024-02-07 00:53 | 1340 m³
2024-02-06 00:53 | 707 m³
2024-02-05 00:53 | 331 m³
2024-02-04 00:53 | 310 m³
2024-02-03 00:53 | 407 m³
2024-02-02 07:38 | 431 m³
2024-02-01 10:43 | 453 m³
2024-01-31 00:53 | 477 m³
2024-01-30 13:34 | 445 m³
2024-01-29 23:48 | 409 m³
2024-01-28 01:29 | 441 m³
2024-01-26 00:52 | 453 m³
2024-01-25 00:52 | 433 m³
2024-01-24 00:52 | 466 m³
2024-01-23 00:52 | 498 m³
2024-01-22 05:33 | 667 m³
2024-01-21 04:41 | 1013 m³
2024-01-20 00:52 | 1198 m³
2024-01-19 00:52 | 1259 m³
2024-01-18 00:52 | 1023 m³
2024-01-17 00:52 | 510 m³
2024-01-16 00:52 | 443 m³
2024-01-15 00:52 | 426 m³
2024-01-14 00:52 | 441 m³
2024-01-13 00:52 | 534 m³
2024-01-12 18:16 | 705 m³
2024-01-11 00:52 | 994 m³
2024-01-10 00:52 | 1123 m³
2024-01-09 00:52 | 801 m³
2024-01-08 00:52 | 453 m³
2024-01-07 00:52 | 511 m³
2024-01-06 00:52 | 615 m³
2024-01-05 00:52 | 640 m³
2024-01-04 00:52 | 649 m³
2024-01-03 00:52 | 590 m³
2024-01-02 00:51 | 604 m³
2024-01-01 00:52 | 705 m³
2023-12-31 00:51 | 849 m³
2023-12-30 00:51 | 749 m³
2023-12-29 00:51 | 734 m³
2023-12-28 00:51 | 851 m³
2023-12-27 00:51 | 885 m³
2023-12-26 00:51 | 1091 m³
2023-12-25 00:51 | 904 m³
2023-12-24 01:16 | 798 m³
2023-12-23 00:51 | 1090 m³
2023-12-22 00:51 | 1228 m³
2023-12-21 00:51 | 973 m³
2023-12-20 00:51 | 480 m³
2023-12-19 00:51 | 435 m³
2023-12-18 00:51 | 420 m³
2023-12-17 00:51 | 537 m³
2023-12-16 00:51 | 817 m³
2023-12-15 00:51 | 1038 m³
2023-12-14 00:51 | 622 m³
2023-12-13 20:40 | 609 m³
2023-12-12 00:51 | 590 m³
2023-12-11 00:51 | 546 m³
2023-12-10 00:51 | 599 m³
2023-12-09 00:51 | 624 m³
2023-12-08 00:51 | 717 m³
2023-12-07 00:51 | 930 m³
2023-12-06 00:51 | 1093 m³
2023-12-05 00:51 | 1197 m³
2023-12-04 00:51 | 1273 m³
2023-12-03 00:51 | 1326 m³
2023-12-02 00:51 | 1353 m³
2023-12-01 00:51 | 1335 m³
2023-11-30 00:51 | 1215 m³
2023-11-29 00:51 | 743 m³
2023-11-28 00:50 | 784 m³
2023-11-27 00:50 | 919 m³
2023-11-26 00:50 | 966 m³
2023-11-25 00:50 | 909 m³
2023-11-24 00:50 | 1002 m³
2023-11-23 00:50 | 706 m³
2023-11-22 20:50 | 608 m³
2023-11-21 00:50 | 624 m³
2023-11-20 00:50 | 502 m³
2023-11-19 00:50 | 522 m³
2023-11-18 00:50 | 535 m³
2023-11-17 05:17 | 573 m³
2023-11-16 00:50 | 580 m³
2023-11-15 00:50 | 521 m³
2023-11-14 00:50 | 550 m³
2023-11-13 00:50 | 671 m³
2023-11-12 00:50 | 927 m³
2023-11-11 00:50 | 1045 m³
2023-11-10 00:50 | 1020 m³
2023-11-09 00:50 | 767 m³
2023-11-08 00:50 | 691 m³
2023-11-07 00:50 | 736 m³
2023-11-06 00:50 | 924 m³
2023-11-05 00:50 | 744 m³
2023-11-04 13:31 | 630 m³
2023-11-03 00:50 | 596 m³
2023-11-02 00:50 | 519 m³
2023-11-01 13:16 | 534 m³
2023-10-31 00:50 | 579 m³
2023-10-30 00:50 | 558 m³
2023-10-29 00:50 | 594 m³
2023-10-28 00:50 | 639 m³
2023-10-27 17:41 | 595 m³
2023-10-26 00:49 | 612 m³
2023-10-25 00:50 | 669 m³
2023-10-24 00:49 | 663 m³
2023-10-23 16:08 | 644 m³
2023-10-22 00:49 | 632 m³
2023-10-21 00:49 | 653 m³
2023-10-20 00:49 | 660 m³
2023-10-19 00:49 | 653 m³
2023-10-18 00:49 | 738 m³
2023-10-17 00:49 | 742 m³
2023-10-16 00:49 | 700 m³
2023-10-15 00:49 | 806 m³
2023-10-14 00:49 | 891 m³
2023-10-13 17:52 | 945 m³
2023-10-12 00:49 | 997 m³
2023-10-11 21:19 | 1040 m³
2023-10-10 00:49 | 1097 m³
2023-10-09 00:49 | 1151 m³
2023-10-08 00:49 | 1184 m³
2023-10-07 00:49 | 1213 m³
2023-10-06 00:49 | 1198 m³
2023-10-05 00:49 | 794 m³
2023-10-04 00:49 | 691 m³
2023-10-03 00:49 | 662 m³
2023-10-02 00:49 | 679 m³
2023-09-30 23:49 | 760 m³
2023-09-29 23:49 | 821 m³
2023-09-28 23:49 | 856 m³
2023-09-27 23:49 | 888 m³
2023-09-26 23:49 | 818 m³
2023-09-25 23:49 | 807 m³
2023-09-24 23:49 | 802 m³
2023-09-23 23:49 | 772 m³
2023-09-22 23:49 | 813 m³
2023-09-21 23:49 | 848 m³
2023-09-20 23:49 | 887 m³
2023-09-19 23:49 | 944 m³
2023-09-18 23:48 | 978 m³
2023-09-17 23:48 | 982 m³
2023-09-16 23:49 | 1017 m³
2023-09-15 23:49 | 1052 m³
2023-09-14 23:49 | 1085 m³
2023-09-13 23:48 | 1146 m³
2023-09-12 23:48 | 1180 m³
2023-09-11 23:48 | 1206 m³
2023-09-10 23:48 | 1216 m³
2023-09-09 23:48 | 1203 m³
2023-09-08 23:48 | 1091 m³
2023-09-07 23:48 | 999 m³
2023-09-06 23:48 | 1017 m³
2023-09-05 23:48 | 1068 m³
2023-09-04 23:48 | 1088 m³
2023-09-03 23:48 | 1094 m³
2023-09-02 23:48 | 1100 m³
2023-09-01 23:48 | 1117 m³
2023-08-31 23:48 | 1127 m³
2023-08-30 23:48 | 1146 m³
2023-08-29 23:48 | 1176 m³
2023-08-28 23:48 | 1188 m³
2023-08-27 23:48 | 1198 m³
2023-08-26 23:48 | 1208 m³
2023-08-25 23:48 | 1213 m³
2023-08-24 23:48 | 1212 m³
2023-08-23 23:48 | 1216 m³
2023-08-22 23:48 | 1209 m³
2023-08-21 23:48 | 1201 m³
2023-08-20 23:48 | 1205 m³
2023-08-19 23:48 | 1199 m³
2023-08-18 23:48 | 1116 m³
2023-08-17 23:48 | 1060 m³
2023-08-16 23:48 | 1099 m³
2023-08-15 23:48 | 1103 m³
2023-08-14 23:48 | 938 m³
2023-08-13 23:48 | 810 m³
2023-08-12 23:47 | 793 m³
2023-08-11 23:48 | 776 m³
2023-08-10 23:47 | 779 m³
2023-08-09 23:47 | 806 m³
2023-08-08 23:47 | 834 m³
2023-08-07 23:48 | 865 m³
2023-08-06 23:47 | 883 m³
2023-08-05 23:47 | 898 m³
2023-08-04 23:47 | 899 m³
2023-08-03 23:47 | 903 m³
2023-08-02 23:47 | 886 m³
2023-08-01 23:47 | 905 m³
2023-07-31 23:47 | 945 m³
2023-07-30 23:47 | 948 m³
2023-07-29 23:47 | 959 m³
2023-07-28 23:47 | 956 m³
2023-07-27 23:47 | 961 m³
2023-07-26 23:47 | 979 m³
2023-07-25 23:47 | 997 m³
2023-07-24 23:47 | 1016 m³
2023-07-23 23:47 | 1038 m³
2023-07-22 23:47 | 1055 m³
2023-07-21 23:47 | 1094 m³
2023-07-20 23:47 | 1111 m³
2023-07-19 23:47 | 1119 m³
2023-07-18 23:47 | 1143 m³
2023-07-17 23:47 | 1155 m³
2023-07-16 23:47 | 1170 m³
2023-07-15 23:47 | 1188 m³
2023-07-14 23:47 | 1191 m³
2023-07-13 23:47 | 1195 m³
2023-07-12 23:47 | 1206 m³
2023-07-11 23:47 | 1214 m³
2023-07-10 23:47 | 1227 m³
2023-07-09 23:47 | 1232 m³
2023-07-08 23:47 | 1231 m³
2023-07-07 23:47 | 1226 m³
2023-07-06 23:47 | 1195 m³
2023-07-05 23:46 | 1145 m³
2023-07-04 23:46 | 1036 m³
2023-07-02 23:47 | 1007 m³
2023-07-01 23:46 | 1022 m³
2023-06-30 23:46 | 1023 m³
2023-06-29 23:46 | 1022 m³
2023-06-28 23:46 | 1005 m³
2023-06-27 23:46 | 1017 m³
2023-06-26 23:46 | 1037 m³
2023-06-25 23:46 | 1046 m³
2023-06-24 23:46 | 1061 m³
2023-06-23 23:46 | 1029 m³
2023-06-22 23:46 | 976 m³
2023-06-21 23:46 | 988 m³
2023-06-20 23:46 | 997 m³
2023-06-19 23:46 | 957 m³
2023-06-18 23:46 | 982 m³
2023-06-17 23:46 | 988 m³
2023-06-16 23:46 | 1026 m³
2023-06-15 23:46 | 1074 m³
2023-06-14 23:46 | 1102 m³
2023-06-13 23:46 | 1113 m³
2023-06-12 23:46 | 1146 m³
2023-06-11 23:46 | 1172 m³
2023-06-10 23:46 | 1201 m³
2023-06-09 23:46 | 1240 m³
2023-06-08 23:46 | 1066 m³
2023-06-07 23:46 | 831 m³
2023-06-06 23:46 | 741 m³
2023-06-05 23:46 | 736 m³
2023-06-04 23:46 | 733 m³
2023-06-03 23:46 | 738 m³
2023-06-02 23:46 | 772 m³
2023-06-01 23:46 | 767 m³
2023-05-31 23:46 | 765 m³
2023-05-30 23:46 | 767 m³
2023-05-29 23:46 | 779 m³
2023-05-28 23:46 | 766 m³
2023-05-27 23:46 | 762 m³
2023-05-26 23:46 | 761 m³
2023-05-25 23:45 | 795 m³
2023-05-24 23:45 | 800 m³
2023-05-23 23:46 | 816 m³
2023-05-22 23:46 | 829 m³
2023-05-21 23:45 | 860 m³
2023-05-20 23:45 | 874 m³
2023-05-18 23:45 | 876 m³
2023-05-17 23:45 | 883 m³
2023-05-16 23:45 | 887 m³
2023-05-15 23:45 | 889 m³
2023-05-14 23:45 | 900 m³
2023-05-13 23:45 | 938 m³
2023-05-12 23:45 | 967 m³
2023-05-11 23:45 | 992 m³
2023-05-10 23:45 | 1001 m³
2023-05-09 23:45 | 1053 m³
2023-05-08 23:45 | 1084 m³
2023-05-07 23:45 | 1063 m³
2023-05-06 23:45 | 1070 m³
2023-05-05 23:45 | 1096 m³
2023-05-04 23:45 | 1153 m³
2023-05-03 23:45 | 1187 m³
2023-05-02 23:45 | 1196 m³
2023-05-01 23:45 | 1213 m³
2023-04-30 23:45 | 1189 m³
2023-04-29 23:45 | 968 m³
2023-04-27 23:45 | 635 m³
2023-04-26 23:45 | 688 m³
2023-04-25 23:45 | 629 m³
2023-04-24 23:45 | 601 m³
2023-04-23 23:45 | 583 m³
2023-04-22 23:45 | 589 m³
2023-04-21 23:45 | 596 m³
2023-04-20 23:45 | 624 m³
2023-04-19 23:45 | 663 m³
2023-04-18 23:45 | 729 m³
2023-04-17 23:45 | 710 m³
2023-04-16 23:45 | 752 m³
2023-04-15 23:44 | 764 m³
2023-04-14 23:45 | 745 m³
2023-04-13 23:44 | 754 m³
2023-04-12 23:44 | 728 m³
2023-04-11 23:44 | 710 m³
2023-04-10 23:44 | 761 m³
2023-04-09 23:45 | 901 m³
2023-04-07 23:44 | 948 m³
2023-04-06 23:44 | 974 m³
2023-04-05 23:44 | 999 m³
2023-04-04 23:44 | 1029 m³
2023-04-03 23:44 | 1099 m³
2023-04-02 23:44 | 1143 m³